## Instructions
INSTRUCTIONS
Only enter values in GREEN Boxes
I | Table 1 | 1. Refer to EPA DREAM enforcement category for risk category at https://www.edenireland.ie
II | Table 2 | 1. Identify the key risks associated with the operation of your agloomeration
2. Assign Each risk associated with your operation a Risk Code Number (e.g Risk VII)
3. Pick a Severity Rating and Occurrence Rating for each Risk Code Number (refer to tables 2a and 2b)
4. In Table 5 "Risk Classifictaion Table - Severity" include estimated costs for Cost of Remediation
5. This is now the completed "Table 2 Risk Assessment Form" & "Table 5 Risk Classification Table - Severity"
III | Table 3 | 1. Note the Risk Scores for each Risk Code Number in Summary of Table 2
2. Place Each Risk Code in the Appropriate Box using the Severity and Occurrence ratings
3. This is now the completed "Table 3 Risk Matrix" and is used to identify the issues to beincluded in your Statement of Measures
IV | (Table 4) Statement of Measures
1. Include meaures to reduce/elimenate risks as identified for action in Table 3 Risk Matrix
2. This is now the completed "Programme of Measures"
V | Printing
Highlight All the Table worksheets and Print on Single Sided output
Or Alternatively Cut and Paste the tables (using the defined "Print Area" into your report.
VI | The appropriate Officer should sign the Programme of Measures

## Table 2 Risk Assessment Form
Table 2 Risk Assessment Form
Risk ID | Process* | Potential Hazards | Environmental effect | Severity Rating | Basis of Severity | Occurrence Rating | Basis of Occurrence | Risk Score
I | Receives 135 m3/day of Leachate during high rainfall. Plant has capacity for 50 m3/day | High BOD/COD shock loading. Possibel Haz substances not metabolised by plant. | Possibility of Eutrophication/toxic effects | 4 | Could have significant impact on local watercourse | 5 | No high level alarms on site. Previous poor handling of leachate. | 20
II | Underground leachate storage tank 50 m3 | Tank failure | Groundwater pollution - baseflow to river | 4 | Contamination could be ongoing for a period of time if leak not detected. Possible need to pump and treat groundwater | 1 | Regular inspection and maintenance of tanks | 4
III | Above Ground Pipework transporting effluent between tanks | Failure of pipe | Spill on site, groundwater contamination, subsequent impact on watercourses | 2 | Would be noticed. Duration of event would be very short | 2 | Pipework inspected regularly. Performance management in place. | 4
IV | Chemical dosing Ferric Sulphate | Spill during deliveries | Spill on site, groundwater contamination, subsequent impact on watercourses | 3 | Ferric Sulphate, high toxicity | 3 | Valves outside bunds, no high level alarms | 9
V | Use of aerator with no redundancy | High BOD discharge | Fishkill potential | 4 | Previous fishkill | 2 | Poor maintenance/training | 8
VI | Operation of palnt without adequate flood protection measures | Flooding overwhelms plant leading to discharge of all sludge | High BOD Fishkill | 4 | Potential for Fishkill due to low assimilative capacity | 3 | 1 in 5 year storm could overwhelm plant as bypass system inadequate and plant has flooded in past 3 years | 12
|  |  |  | 1 |  | 1 |  | 1
|  |  |  | 1 |  | 1 |  | 1
|  |  |  | 1 |  | 1 |  | 1
|  |  |  | 1 |  | 1 |  | 1
Table 5 Risk Classification Table – Severity
Rating | Severity
| Category | Description | Cost of Remediation
1 | Trivial | No damage or negligible change to the environment. | 1000
2 | Minor | Minor impact/localised or nuisance | 5000
3 | Moderate | Moderate damage to environment | 10000
4 | Major | Severe damage to local environment | 100000
5 | Massive | Massive damage to a large area, irreversible in medium term | 1000000
Table 6 Risk Classification Table – Occurrence
The appropriate Officer should sign the Programme of Measures
Rating | Occurrence
| Category | Description | Likelihood of Occurrence (%)
1 | Very Low | Very low chance (0-5%) of hazard occurring in 30 yr period * | 0 – 5
2 | Low | Low chance (5-10%) of hazard occurring in 30 yr period | 5 - 10
3 | Medium | Medium chance (10-20%) of hazard occurring in 30 yr period | 10 - 20
4 | High | High chance (20-50%) of hazard occurring in 30 yr period | 20 - 50
5 | Very High | Greater than 50% chance of hazard occurring in 30 yr period | >50
Note on D20: Cost to be determined as part of ELRA - may require assitance from a suitable expert
Note on E2: See Table 5 Risk Classification Table – Severity Below
Note on G2: See Table 6 Risk Classification Table – Occurrence Below

## Table 3 Risk Matrix
Table 3 Risk Matrix
| V. High | 5 |  |  |  | I
| High | 4
Occurrence | Medium | 3 |  |  | IV | VI
| Low | 2 |  | III |  | V
| V. Low | 1 |  |  |  | II
|  |  | Trivial | Minor | Moderate | Major | Massive
|  |  | 1 | 2 | 3 | 4 | 5
Severity
| These are considered to be high-level risks requiring priority attention. These risks have the potential to be catastrophic and as such should be addressed quickly. | [6 empty] | Summary of Table 2 Risk Assessment Form
| These are medium-level risks requiring action, but are not as critical as a red coded risk. | [6 empty] | Risk ID | Severity Rating | Occurrence Rating | Risk Score
| Green (light and dark green) – These are lowest-level risks and indicate a need for continuing awareness and monitoring on a regular basis. Whilst they are currently low or minor risks, some have the potential to increase to medium or even high-level risks and must therefore be regularly monitored and if cost effective mitigation can be carried out to reduce the risk even further this should be pursued. | [6 empty] | I | 4 | 5 | 20
[8 empty] | II | 4 | 1 | 4
[8 empty] | III | 2 | 2 | 4
[8 empty] | IV | 3 | 3 | 9
[8 empty] | V | 4 | 2 | 8
[8 empty] | VI | 4 | 3 | 12
[8 empty] | 0 | 1 | 1 | 1
[8 empty] | 0 | 1 | 1 | 1
[8 empty] | 0 | 1 | 1 | 1
[8 empty] | 0 | 1 | 1 | 1
The appropriate Officer should sign the Programme of Measures

## Table 4 Statement of Measures
Table 4 Statement of Measures
Risk I.D. | Risk Score | Mitigation measure to be taken | Outcome | Action | Date for completion | Owner/Contact Person
I | 20 | Training of staff in leachate handling and improve infrastructure | Reduced risk from leachate handling and storage | High level alarms and Mech and & Elec contract out for Procurement. Tenders being assess August. Training course organized for July 2010 | Work completed January 2011 | John Murphy. Chief Sevice Engineer 067 12234 j.murphy @madeupcoco.ie
II | 4 | Continue Regular maintenance. Ensure all staff training up to date | Reduced risk from leachate handling and storage | Training Course Organised for July 2010 | July 2010 | John Murphy. Chief Service Engineer 067 12234 j.murphy @madeupcoco.ie. Brid O' Connor Training Officer 067 12234
III | 4 | Continue regular inspections | Reduced risk of effluent spills | Institute formal checklists and daily e-mailed report from site | May 2010 | John Murphy. Chief Service Engineer 067 12234 j.murphy @madeupcoco.ie.
IV | 9 | Improve Bunding and containment and procedures | Reduced risk of spills | Changes flanges/valves so they are inside bund. Write Formal SOP for delivery of chemicals and oblige contractors to use | July 2010 | John Murphy. Chief Service Engineer 067 12234 j.murphy @madeupcoco.ie. K. Foley H&S Officer 084 98873
V | 8 | Install redundant aerator and improve maintenance | Reliable Aeration of basin | New aerator contract in place. Schedule for servicing agreed with fitter | August 2010 | John Murphy. Chief Service Engineer 067 12234 j.murphy @madeupcoco.ie. Liam Healy Fitter 087 3445667
VI | 12 | Reduce risk of flooding at plant | Reduce risk of washout | Undertake flood study and suggested engineering works. Raise tank walls by 0.5 m | February 2011 | John Murphy. Chief Service Engineer 067 12234 j.murphy @madeupcoco.ie. Liam Healy Fitter 087 3445667
Statement
I confirm the above are the measures which will be taken by the Local Authority in 2010/2011
Signed:
Name |  | Date
The appropriate Officer should sign the Programme of Measures