## Slide 1
Nicholas Kenny SiteRight Environmental
<number>
Presentation to EPA conference on Accreditation of Emission Monitoring. Athlone – 1st June 2011
SiteRight Environmental

## Slide 2
An Irish Stack testing contractor
My personal views and opinions based on 20 years experience
SiteRight Environmental
<number>

## Slide 3
SiteRight Environmental
Emissions monitoring service
  Non-accredited (AG2 compliant). Instrumental, Particulate, Speciated organics [sub-contracted laboratory]
  Accredited (JV Catalyst Environmental) [MCERTS for all common parameters]
Fugitive emissions
Training & support to industry on Air Pollution
SiteRight Environmental
<number>

## Slide 4
Licensee (customer) profiles
High end – premium paid for quality mark available
Low end – cost is everything
Middle ground – numbers have been Agency driven
SiteRight Environmental
<number>

## Slide 5
Contractor profiles
One man band (single service)
Large organisation (multi-service)
UK contractors
Quality management systems can look different but still contain the essential components.
The value of experience and specialisation
SiteRight Environmental
<number>

## Slide 6
EPA’s Quality Criteria – (a gradual raising of the bar)
Pre- 1994 – only APL, Odours
1994 – 2006 Lots of licensing & enforcement – Licence Schedule 1(iii) - Focus on stack testing only case by case.
2005 – 2010 Guidance notes & Thematic unit
2011 – AG2 minimum criteria & thematic audits
2014 – ISO 17025 accredited (Board decision)
Agency teams until 2005
SiteRight Environmental
<number>

## Slide 7
MCERTS (across the water !)
Available since mid-90’s in UK – manditatory now
The 3 in 1 scheme – [Personnel, Equipment, QMS]
Ireland MCERTS is mis-understood by licensee (& regulator)
Open to mis-representation by contractor
SiteRight Environmental
<number>

## Slide 8
What are the challenges for Irish stack testers ?
General economic climate
Uncertainty regarding quality criteria
  Significant capital costs (equipment/systems) – to invest or not to invest ?
  Significant operating costs - equipment calibration/maintenance, training (and certification)
Licensee awareness of quality criteria – there are two ways to do the same job !
SiteRight Environmental
<number>

## Slide 9
What can the Agency do for us ?
Continued focus on safety
Define quality criteria and timescales
Communicate these to licensee
Enforce these criteria on an ongoing basis (thematic unit and inspector)
Enshrine in licence document
Contractor register – audit reports, proficiency schemes
Cost incentive for accredited self monitoring (license charges)
Harmonise Licence ELV’s with available methods
Maximise use of Stack Data for Environmental protection
SiteRight Environmental
<number>

## Slide 10
The annual (30 min) air emission result !
Never has one result done so much for its company
  Compliance
  PRTR (inventories)
  Fugitive emissions
  Impact assessment
SiteRight Environmental
<number>

## Slide 11
Adding value to emission data
Multiple measurements
Detailed information on process – agreement with emission results
Calibration check on CEMS
Recalibration of CEMS (mini 14181)
Statement of assumptions prior to use in Inventory/Fugitive/Modelling
Trending
SiteRight Environmental
<number>

## Slide 12
INAB and EN TS 15675
An new era ?
A single standard for all (nationally & int’l)
Opportunities for stack testing abroad
If this is where we are going then why delay.
SiteRight Environmental
<number>

## Slide 13
Nicholas Kenny
SiteRight Environmental
Ph 086 8538247
nkenny@siteright.ie
www.siteright.ie
SiteRight Environmental
<number>