| CHECKLIST FOR THE AUDIT OF EXTERNAL/INTERNAL LABORATORY |  |
| --- | --- |

| #### Name of Contractor/Laboratory: |  |
| --- | --- |
| Name of Auditor |  |
| Laboratory Representative(s) (Include position) |  |
| Date of Audit: |  |

- RELEVANT LICENCE CONDITIONS

Outline conditions specified in the licence in relation to sampling, analysis and measurement of discharges

Typically: Condition 4: Interpretation, Condition 6: Control & Monitoring

Note: Health and safety/risk assessment requirements are not addressed as part of this checklist

- GENERAL QUESTIONS

2.1: Laboratory management: Are there a nominated manager & deputy who are suitably qualified and experienced? Yes ⁪ No ⁪ Is there a suitably qualified quality control manager responsible for all quality control activities in the laboratory? Yes ⁪ No ⁪ Is the laboratory INAB Accredited? Yes ⁪ No ⁪ Are the methods for analysis of parameters of interest accredited? Yes ⁪ No ⁪ Comments:

2.2: Staff Competency: Is the laboratory manager supported by an adequate number of qualified staff, trained in the principles and practice of relevant areas of analysis; Yes ⁪ No ⁪ Is a training procedure in place for laboratory staff? (This procedures should cover both analytical procedures and the relevant principles and practice of analysis, including calibration and internal and external analytical quality control) Yes ⁪ No ⁪ Do the training procedures set criteria and method of assessment of the competence of staff to conduct analysis? Yes ⁪ No ⁪ Are staff training records in place and kept up to date? (a training record should set out clearly those procedures and practices in which staff have been trained, the dates and results (competency) of that training, the dates and results of audits of training and any re-training and the results of any annual review) Yes ⁪ No ⁪ Comments:

2.3: Overview of Laboratory Quality System

Is a documented quality manual in place? Yes ⁪ No ⁪ Is the quality manual based on the requirements of ISO 17025? Yes ⁪ No ⁪ Does the quality manager conduct audits to assess compliance with systems and methods? Yes ⁪ No ⁪ (these audits should be reviewed) Comments: 2.3.1 : Equipment & Calibration Is a documented calibration programme in place for all necessary equipment? Yes ⁪ No ⁪ (As well as major pieces of instrumentation this should include small laboratory items e.g. pipettes, ovens) Are calibration records current for all equipment and maintained on file? Yes ⁪ No ⁪ Has traceability of the calibration been established to relevant SI units of measurement? Yes ⁪ No ⁪ Is a documented maintenance programme in place in accordance with manufactures/suppliers recommendations for equipment utilised? Yes ⁪ No ⁪ Are laboratory facilities appropriate for the range of tests carried out? Yes ⁪ No ⁪ Is laboratory equipment located and utilised in an appropriate manner? Yes ⁪ No ⁪ Comments:

2.4: Overview of analytical Methods:

Are documented standard operating procedures in place for each test method? Yes ⁪ No ⁪ Are all relevant procedures based on reference standard methods (as defined in the licence)? Yes ⁪ No ⁪ Is a copy of relevant standard available on-site? Yes ⁪ No ⁪ Comments:

2.5 Quality Control

2.5.1 Internal Quality Control Does the Laboratory have a documented internal quality control procedure in place? Yes ⁪ No ⁪ Are all relevant methods subject to internal AQC? Yes ⁪ No ⁪ Are AQC subject to evaluation (are Charts maintained, are actions taken upon failure)? Yes ⁪ No ⁪ Are acceptance criteria set for AQC fit for purpose? Yes ⁪ No ⁪ Comments:

2.5.2 External Quality Control: Is the laboratory a participant in a laboratory proficiency scheme e.g. Aqua Check or EPA proficiency scheme? Yes ⁪ No ⁪ Aqua Check Scheme Yes ⁪ EPA Proficiency Scheme Yes ⁪ Other (specify) No ⁪ No ⁪ The results of any analysis submitted has part of a proficiency should be checked, if any samples failed the criteria set by the scheme, procedures should be in place to conduct an investigation) Review of recent results for all relevant methods: Are procedures in place to deal with proficiency scheme failures? Yes ⁪ No ⁪ Comments:

2.4.1 Method Validation: Is a written methodology in place to determine the performance characteristics of test methods under the following headings? Yes ⁪ No ⁪ Limit of Quantitation Accuracy Precision Uncertainty of Measurement Yes ⁪ Yes ⁪ Yes ⁪ Yes ⁪ No ⁪ No ⁪ No ⁪ No ⁪ Range & Linearity System Suitability Yes ⁪ Yes ⁪ No ⁪ No ⁪ Comments: Is a documented procedure in place to determine the suitability of the procedure for test matrices? Yes ⁪ No ⁪ Have the relevant test methods been assessed for their suitability to the test matrix? Yes ⁪ No ⁪ Comments: