## Remedial Action List
Local Authority | Name of Water Supply | Population Served | Primary reason for Inclusion on the Remedial Action List (there may be other issues than those listed)
Carlow County Council | Bagenalstown WSS | 7770 | Supply identified by the HSE where further investigation or improvement maybe required
Carlow County Council | Borris WSS | 800 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Carlow County Council | Carlow Central Regional WSS | 3400 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Carlow County Council | Carlow Town WSS | 13215 | Supply identified by the HSE where further investigation or improvement maybe required
Cavan County Council | Arvagh PWS | 525 | EPA Audit Observation - Treatment and Management Issues
Cavan County Council | Ballinagh P.W.S. | 840 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Cavan County Council | Ballyconnell | 956 | Supply identified by the HSE where further investigation or improvement maybe required
Cavan County Council | Belturbet | 1610 | Supply identified by the HSE where further investigation or improvement maybe required
Cavan County Council | Cavan R.W.S.S. | 7525 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Cavan County Council | Cootehill | 2000 | Supply identified by the HSE where further investigation or improvement maybe required
Cavan County Council | Dowra P.W.S. | 228 | Elevated levels of Bromate above the current standard in the Drinking Water Regulations
Cavan County Council | Gowna | 350 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cavan County Council | Killeshandra P.W.S. | 683 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Cavan County Council | Kingscourt | 1925 | Supply identified by the HSE where further investigation or improvement maybe required
Clare County Council | Ardataggle PWS | 275 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Clare County Council | Ballyvaughan | 1000 | Supply identified by the HSE where further investigation or improvement maybe required
Clare County Council | Broadford | 350 | Supply identified by the HSE where further investigation or improvement maybe required
Clare County Council | Ennis PWS | 23000 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Clare County Council | Ennistymon RWS | 8220 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Clare County Council | Flagmount PWS | 100 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Clare County Council | Miltown/Malbay | 1443 | Excessive levels of aluminium in the treated water
Clare County Council | Shannon/Sixmilebridge RWSS | 16000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Clare County Council | Turlough PWS | 500 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (North) County Council | Bartlemy | 100 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (North) County Council | Burnfort | 100 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (North) County Council | Conna Village | 200 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Cork (North) County Council | Doneraile | 3000 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (North) County Council | Glenduff | 50 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (North) County Council | Killavullen | 700 | Supply identified by the HSE where further investigation or improvement maybe required
Cork (North) County Council | Knoppogue | 40 | Supply identified by the HSE where further investigation or improvement maybe required
Cork (North) County Council | Mallow | 9000 | Supply identified by the HSE where further investigation or improvement maybe required
Cork (North) County Council | Millstreet | 2000 | Supply identified by the HSE where further investigation or improvement maybe required
Cork (North) County Council | Mitchelstown Galtee | 3000 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (North) County Council | Mount North | 1000 | Supply identified by the HSE where further investigation or improvement maybe required
Cork (North) County Council | Rahan | 350 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (South) County Council | Ballincurrig/Lisgoold | 300 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (South) County Council | Ballingeary | 500 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (South) County Council | Ballymakerra | 400 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Cork (South) County Council | Bilberry | 40 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (South) County Council | Clash/Leamleara | 80 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (South) County Council | Donoughmore | 250 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (South) County Council | Kilbritten | 250 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (South) County Council | Walshtown Beg | 50 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (South) County Council | Youghal Regional | 6000 | Excessive levels of aluminium in the treated water
Cork (West) County Council | Adrigole | 200 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (West) County Council | Ballineen | 500 | Inadequate treatment for Cryptosporidium
Cork (West) County Council | Bantry Old | 600 | Supply identified by the HSE where further investigation or improvement maybe required
Cork (West) County Council | Cahermore | 80 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (West) County Council | Castletownbere New | 2500 | Inadequate treatment for Cryptosporidium
Cork (West) County Council | Castletownbere Old | 400 | Inadequate treatment for Cryptosporidium
Cork (West) County Council | Castletownkinnagh | 50 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Cork (West) County Council | Clonakility | 10000 | Excessive levels of aluminium in the treated water
Cork (West) County Council | Copeen | 30 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (West) County Council | Drimoleague | 400 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (West) County Council | Dromore public (Bantry) | 50 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (West) County Council | Kealkill | 150 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (West) County Council | Kilbritten |  | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (West) County Council | Leap | 1500 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Cork (West) County Council | Schull | 2000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Cork (West) County Council | Snave | 100 | Inadequate treatment for Cryptosporidium
Cork (West) County Council | Tarelton | 0 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Donegal County Council | Ballintra | 450 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Donegal County Council | Ballyshannon | 5000 | Poor turbidity removal
Donegal County Council | Burnfoot | 1000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Donegal County Council | Carndonagh (Mixed Supply) | 4000 | Excessive levels of aluminium in the treated water
Donegal County Council | Carrick-Teelin | 780 | Poor turbidity removal
Donegal County Council | Carrigar-Downings | 1400 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Cashilard | 400 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Cranford | 839 | Excessive levels of aluminium in the treated water
Donegal County Council | Cullinoboy | 530 | Poor turbidity removal
Donegal County Council | Donegal (River Eske) | 6000 | Excessive levels of aluminium in the treated water
Donegal County Council | Dunkineely | 500 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Fanad East (Shannagh) | 700 | Poor turbidity removal
Donegal County Council | Fanad West (Tullyconnell) | 500 | Poor turbidity removal
Donegal County Council | Frosses-Inver | 1500 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Glenties-Ardara | 4500 | Inadequate treatment for Cryptosporidium
Donegal County Council | Gortahork-Falcarragh | 5000 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Greencastle | 807 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Inishowen West | 7000 | Poor turbidity removal
Donegal County Council | Kilcar | 300 | Poor turbidity removal
Donegal County Council | Killybegs | 5000 | Excessive levels of aluminium in the treated water
Donegal County Council | Letterkenny | 19500 | Inadequate treatment for Cryptosporidium
Donegal County Council | Lifford (Old) | 36 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Donegal County Council | Lough Mourne | 17000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Donegal County Council | Malinmore | 500 | Elevated levels of Bromate above the current standard in the Drinking Water Regulations
Donegal County Council | Manorcunningham | 710 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Mountcharles Lower (Pressure Filters) | 1000 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Mountcharles Upper (Slow Sand Filters) | 500 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Pettigo | 510 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Donegal County Council | Pollan Dam | 10000 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Donegal County Council | Portnoo-Narin | 656 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Rathmullen | 2050 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Donegal County Council | Rosbeg | 285 | Inadequate treatment for Cryptosporidium
Donegal County Council | Rosses Regional | 10000 | Poor turbidity removal
Cork City Council | Cork City Water Supply | 123000 | EPA Audit Observation - Treatment and Management Issues
Dublin City Council | Ballyboden | 37500 | EPA Audit Observation - Treatment and Management Issues
Galway City Council | Galway City Council Public Water S.S. | 65000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Galway County Council | Ballinasloe Rwss | 6562 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Galway County Council | Ballyconneely P.S. | 931 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Galway County Council | Carraroe PWS | 3875 | Inadequate treatment for Cryptosporidium
Galway County Council | Clarinbridge/Kilcolgan RWSS | 1270 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Galway County Council | Cleggan/Claddaghduff | 1025 | Inadequate treatment for Cryptosporidium
Galway County Council | Clifden | 3180 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Galway County Council | Clonbur PS | 350 | Poor turbidity removal
Galway County Council | Cornamona P.S. | 240 | Inadequate treatment for Cryptosporidium
Galway County Council | Craughwell | 340 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Galway County Council | Derryinver P.S. | 108 | Inadequate treatment for Cryptosporidium
Galway County Council | Derryrush P.S. | 300 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Galway County Council | Dunmore/Glenamaddy P.S. | 1185 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Galway County Council | Glenamaddy | 900 | Poor turbidity removal
Galway County Council | Gort | 4775 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Galway County Council | Inisboffin P.S. | 486 | Inadequate treatment for Cryptosporidium
Galway County Council | Inishere P.S. | 274 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Galway County Council | Inishmore | 2725 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Galway County Council | Kilconell PWS | 200 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Galway County Council | Killimor PWS | 500 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Galway County Council | Kinvara P.S. | 605 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Galway County Council | Leenane P.S. | 100 | Inadequate treatment for Cryptosporidium
Galway County Council | Letterfrack PWS(Dawros) | 300 | Inadequate treatment for Cryptosporidium
Galway County Council | Loughrea Public Supply | 3643 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Galway County Council | Mid Galway | 2083 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Galway County Council | Mountbellew P.S. | 1076 | Poor turbidity removal
Galway County Council | Oughterard | 1660 | Excessive levels of aluminium in the treated water
Galway County Council | Portumna PS | 1228 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Galway County Council | Rosmuc P.S | 1090 | Inadequate treatment for Cryptosporidium
Galway County Council | Roundstone P.S | 1815 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Galway County Council | Spiddal Public Water Supply | 739 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Galway County Council | Teeranea/Lettermore P.S. | 2725 | Inadequate treatment for Cryptosporidium
Galway County Council | Tuam PS | 12446 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Galway County Council | Tully-Tullycross | 325 | Inadequate treatment for Cryptosporidium
Galway County Council | Williamstown PS | 180 | Poor turbidity removal
Kerry County Council | Anascaul 002D | 450 | Poor turbidity removal
Kerry County Council | Ardfert North 003E | 1558 | Poor turbidity removal
Kerry County Council | Aughacasla 005D | 492 | Inadequate treatment for Cryptosporidium
Kerry County Council | Báile Breach 092D | 140 | Inadequate treatment for Cryptosporidium
Kerry County Council | Ballinskelligs 008H | 901 | Inadequate treatment for Cryptosporidium
Kerry County Council | Ballymacadam 402F | 4132 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Kerry County Council | Barraduff 602E | 406 | Inadequate treatment for Cryptosporidium
Kerry County Council | Breanlee 088A | 752 | Inadequate treatment for Cryptosporidium
Kerry County Council | Caherdaniel 019H | 364 | Inadequate treatment for Cryptosporidium
Kerry County Council | Cahirciveen 017H | 1725 | Poor turbidity removal
Kerry County Council | Camp 020D | 731 | Inadequate treatment for Cryptosporidium
Kerry County Council | Cappagh/Cloonafinneela 001F | 258 | Poor turbidity removal
Kerry County Council | Caragh Lake 022A | 1757 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Kerry County Council | Castlecove 023H | 353 | Inadequate treatment for Cryptosporidium
Kerry County Council | Castlegregory 024D | 1148 | Inadequate treatment for Cryptosporidium
Kerry County Council | Dingle 030D | 3784 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Kerry County Council | Duagh 033E | 194 | Poor turbidity removal
Kerry County Council | Emlaghpeasta 035H | 178 | Inadequate treatment for Cryptosporidium
Kerry County Council | Feoghanagh 038D | 243 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Kerry County Council | Glen 039H | 59 | Inadequate treatment for Cryptosporidium
Kerry County Council | Glenbeigh 040A | 41 | Inadequate treatment for Cryptosporidium
Kerry County Council | Inch Pws 044D | 504 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Kerry County Council | Kenmare 045A | 1832 | Inadequate treatment for Cryptosporidium
Kerry County Council | Kilgarvan 046A | 327 | Inadequate treatment for Cryptosporidium
Kerry County Council | Lauragh 051A | 75 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Kerry County Council | Lisarboola 404F | 13820 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Kerry County Council | Liscarney 052D | 24 | Inadequate treatment for Cryptosporidium
Kerry County Council | Lough Guitane 400F | 55848 | Inadequate treatment for Cryptosporidium
Kerry County Council | Lyre 057E | 1117 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Kerry County Council | Mid Kerry/Gearha (H) 300A | 9400 | Inadequate treatment for Cryptosporidium
Kerry County Council | Minard No. 2 061D | 174 | Poor turbidity removal
Kerry County Council | Minard No. 3 090D | 189 | Inadequate treatment for Cryptosporidium
Kerry County Council | Mountain Stage 062A | 1017 | Inadequate treatment for Cryptosporidium
Kerry County Council | Murreigh Ballydavid 063D | 450 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Kerry County Council | Rathmore 065A | 797 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Kerry County Council | Scartleigh(H) 600E | 0 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Kerry County Council | Shrone 078A | 199 | Inadequate treatment for Cryptosporidium
Kerry County Council | Sneem 068A | 447 | Inadequate treatment for Cryptosporidium
Kerry County Council | Templenoe 073A | 207 | Poor turbidity removal
Kerry County Council | Ventry 074D | 500 | Inadequate treatment for Cryptosporidium
Kerry County Council | Waterville 075H | 842 | Poor turbidity removal
Kilkenny County Council | Ballyragget WS | 1103 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Kilkenny County Council | Bennettsbridge Regional WS | 3500 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Kilkenny County Council | Clogh-Castlecomer WS | 2640 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Kilkenny County Council | Inistioge WS | 986 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Kilkenny County Council | Kilkenny City (Radestown) WS | 8625 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Kilkenny County Council | Kilkenny City (Troyswood) WS | 11521 | Excessive levels of aluminium in the treated water
Kilkenny County Council | Mooncoin Regional WS | 7148 | Excessive levels of aluminium in the treated water
Laois County Council | Arles 1 PWS | 17 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Laois County Council | Ballinakill 2 PWS | 400 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Laois County Council | Clonaslee PWS | 1304 | Excessive levels of aluminium in the treated water
Laois County Council | Durrow 1 PWS | 774 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Laois County Council | Luggacurren PWS | 18 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Laois County Council | Modubeigh PWS | 24 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Laois County Council | Mountmellick 1 PWS | 5268 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Laois County Council | Roundwood PWS | 25 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Leitrim County Council | Fivemilebourne | 120 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Leitrim County Council | North Leitrim Regional | 5000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Limerick City Council | Limerick City Council Drinking Water | 52000 | Excessive levels of aluminium in the treated water
Limerick County Council | Ballingarry | 562 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Limerick County Council | Caherdavid Pub DWS | 1567 | Excessive levels of aluminium in the treated water
Limerick County Council | Castleconnell Pub DWS | 1567 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Limerick County Council | Castletroy Pub DWS | 11343 | Excessive levels of aluminium in the treated water
Limerick County Council | Faleen Pub DWS | 1352 | Poor turbidity removal
Limerick County Council | Foynes / Shannon Estuary Pub DWS | 1481 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Limerick County Council | Kilbehenny PWS | 160 | Supply identified by the HSE where further investigation or improvement maybe required
Limerick County Council | Kilmallock Pub DWS | 2338 | Poor turbidity removal
Limerick County Council | Mungret / Clarina Pub DWS | 691 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Limerick County Council | Newcastle West Pub DWS | 7469 | Excessive levels of aluminium in the treated water
Limerick County Council | Oola Pub DWS | 1152 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Limerick County Council | Raheen / Lisnalty Pub DWS | 4395 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Longford County Council | Ballinalee/Edgeworthstown | 1735 | Inadequate treatment for Cryptosporidium
Longford County Council | Ballinalee/Edgeworthstown | 1735 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Longford County Council | Granard | 1915 | Excessive levels of aluminium in the treated water
Longford County Council | Lanesboro | 1396 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Longford County Council | Longford Central | 8717 | Excessive levels of aluminium in the treated water
Louth County Council | Ardee | 6500 | Excessive levels of aluminium in the treated water
Louth County Council | Omeath | 300 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Louth County Council | Staleen | 25000 | Poor turbidity removal
Mayo County Council | Achill Regional PS | 3774 | Supply identified by the HSE where further investigation or improvement maybe required
Mayo County Council | Ballyhaunis | 3000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Mayo County Council | Clare Island | 180 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Mayo County Council | Cong | 700 | Inadequate treatment for Cryptosporidium
Mayo County Council | Foxford | 900 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Mayo County Council | Inishturk | 50 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Mayo County Council | Kilmaine PS | 607 | Supply identified by the HSE where further investigation or improvement maybe required
Mayo County Council | Kiltimagh | 1239 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Mayo County Council | Lough Mask | 28156 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Mayo County Council | Louisburg | 500 | Excessive levels of aluminium in the treated water
Mayo County Council | Mulranny | 781 | Excessive levels of aluminium in the treated water
Mayo County Council | Newport PWS | 274 | Supply identified by the HSE where further investigation or improvement maybe required
Mayo County Council | Shrule | 963 | Excessive levels of aluminium in the treated water
Mayo County Council | Swinford | 2000 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Mayo County Council | Westport | 6730 | Excessive levels of aluminium in the treated water
Meath County Council | Ballinaclose | 200 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Meath County Council | Ballivor | 1280 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Meath County Council | East Meath | 30000 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Meath County Council | Kells-Oldcastle | 8250 | Inadequate treatment for Cryptosporidium
Meath County Council | Moynalty | 250 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Meath County Council | Navan & MidMeath PWS | 28000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Meath County Council | Summerhill | 850 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Meath County Council | Trim PWS | 8000 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Monaghan County Council | Carrickmacross | 3341 | Supply identified by the HSE where further investigation or improvement maybe required
Monaghan County Council | Clones | 2800 | Excessive levels of aluminium in the treated water
Monaghan County Council | Clontibret | 86 | Elevated levels of Arsenic above the standard in the Drinking Water Regulations
Monaghan County Council | Drumully | 350 | Supply identified by the HSE where further investigation or improvement maybe required
Monaghan County Council | Emyvale | 600 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Monaghan County Council | Glaslough | 305 | Supply identified by the HSE where further investigation or improvement maybe required
Monaghan County Council | Inniskeen | 650 | Supply identified by the HSE where further investigation or improvement maybe required
Monaghan County Council | Lough Egish RWSS | 6100 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Monaghan County Council | Monaghan | 7500 | Excessive levels of aluminium in the treated water
Monaghan County Council | Newbliss | 434 | Supply identified by the HSE where further investigation or improvement maybe required
Monaghan County Council | Pullis Cottages P.W.S.S. | 25 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Monaghan County Council | Smithborough | 300 | Supply identified by the HSE where further investigation or improvement maybe required
North Tipperary County Council | Cloughjordan | 907 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
North Tipperary County Council | Lorrha/Riverstown | 640 | Inadequate treatment for Cryptosporidium
North Tipperary County Council | Nenagh RWSS (Zone 1) | 11823 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
North Tipperary County Council | Templemore RWSS (Zone 2) | 700 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
North Tipperary County Council | Thurles (Zone 2) | 175 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
North Tipperary County Council | Two Mile Borris | 627 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Offaly County Council | Birr P.W.S. | 3912 | Excessive levels of aluminium in the treated water
Offaly County Council | Clara/Ferbane RWSS P.W.S. | 5000 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Offaly County Council | Daingean P.W.S | 1050 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Offaly County Council | Dungar P.W.S. | 135 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Offaly County Council | Dunkerrin P.W.S. | 1030 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Offaly County Council | MountBolus P.W.S. | 125 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Offaly County Council | Shinrone-Brosna P.W.S | 2250 | Elevated levels of Pesticide above standard in the Drinking Water Regulations
Offaly County Council | Tullamore P.W.S. | 10000 | Excessive levels of aluminium in the treated water
Roscommon County Council | Arigna | 270 | Elevated levels of Bromate above the current standard in the Drinking Water Regulations
Roscommon County Council | Ballyfarnan | 200 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Roscommon County Council | Boyle/Ardcarne | 1200 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Roscommon County Council | Castlerea Urban | 1800 | Poor turbidity removal
Roscommon County Council | Grangemore | 700 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Roscommon County Council | Keadue | 180 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Roscommon County Council | Knockcroghery/Lecarrow (Lecarrow source) | 450 | Poor turbidity removal
Roscommon County Council | Leacarrow | 600 | Inadequate treatment for Cryptosporidium
Roscommon County Council | North East RWSS | 4800 | Inadequate treatment for Cryptosporidium
Roscommon County Council | North Roscommon Regional Water Supply Scheme | 5750 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Sligo County Council | Calry | 220 | Inadequate treatment for Cryptosporidium
Sligo County Council | Killaraght Public Water Supply | 110 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Sligo County Council | Kilsellagh | 11000 | Inadequate treatment for Cryptosporidium
Sligo County Council | Lough Easkey Regional Water Supply | 4500 | Excessive levels of aluminium in the treated water
Sligo County Council | Lough Gill Regional Water Supply | 3700 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
Sligo County Council | Lough Talt Regional Water Supply | 9250 | Inadequate treatment for Cryptosporidium
Sligo County Council | North Sligo Regional Water Supply | 2400 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Sligo County Council | South Sligo Regional Water Supply | 592 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
South Tipperary County Council | Ardfinnan Regional | 8250 | Excessive levels of aluminium in the treated water
South Tipperary County Council | Burncourt | 2038 | Inadequate treatment for Cryptosporidium
South Tipperary County Council | Cahir Reservoir | 500 | Inadequate treatment for Cryptosporidium
South Tipperary County Council | Carrick-on-Suir (Crotty's Lake) | 2500 | Inadequate treatment for Cryptosporidium
South Tipperary County Council | Carrick-on-Suir [Lingaun River] | 3000 | Excessive levels of aluminium in the treated water
South Tipperary County Council | Clonmel Glenary | 12000 | Inadequate treatment for Cryptosporidium
South Tipperary County Council | Cloran Regional | 2500 | Inadequate treatment for Cryptosporidium
South Tipperary County Council | Dundrum Regional | 4783 | Excessive levels of aluminium in the treated water
South Tipperary County Council | Galtee Regional | 11600 | Excessive levels of aluminium in the treated water
South Tipperary County Council | Gortnapisha | 2500 | Inadequate treatment for Cryptosporidium
South Tipperary County Council | Graigue | 1192 | Inadequate treatment for Cryptosporidium
South Tipperary County Council | Killurney | 1488 | Elevated levels of THM's above the current standard in the Drinking Water Regulations
South Tipperary County Council | Mullenbawn | 2500 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
South Tipperary County Council | Tipperary UDC | 5209 | Inadequate treatment for Cryptosporidium
Waterford City Council | East Waterford Regional | 41945 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Waterford County Council | Adramone | 19 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Waterford County Council | Ardmore | 1380 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Waterford County Council | Ballinacourty/Deelish | 1500 | Poor turbidity removal
Waterford County Council | Ballyshunnock | 10 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Waterford County Council | Geoish | 55 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Waterford County Council | Glenegad/Scrothea | 10 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Waterford County Council | Graiguenageeha | 40 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Waterford County Council | Inchinleamy | 100 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Waterford County Council | Kilgainey | 60 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Waterford County Council | Kilmore-Kilbeg | 20 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Waterford County Council | Kilnafrehan | 30 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Waterford County Council | LCB Lismore, Cappoquin, Ballyduff | 4532 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Waterford County Council | Rathgormuck | 127 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Waterford County Council | Shanacoole | 100 | Elevated levels of Nitrate above the standard in the Drinking Water Regulations
Waterford County Council | Shekskin | 100 | Inadequate treatment for Cryptosporidium
Waterford County Council | Stradbally | 500 | Excessive levels of aluminium in the treated water
Waterford County Council | Tallow | 1164 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Waterford County Council | Tinkock\Tinnabinna | 112 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Westmeath County Council | Athlone WSS | 19900 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Westmeath County Council | Ballynahown | 100 | Inadequate treatment for Cryptosporidium
Westmeath County Council | Moate | 2500 | Inadequate treatment for Cryptosporidium
Wexford County Council | Gorey Region | 13630 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Wexford County Council | Kiltealy | 250 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Wexford County Council | New Ross | 7800 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Wexford County Council | Taghmon | 850 | Excessive levels of aluminium in the treated water
Wicklow County Council | Arklow Public Supply | 10000 | Supply identified by the HSE where further investigation or improvement maybe required
Wicklow County Council | Aughrim / Annacurra | 950 | Supply identified by the HSE where further investigation or improvement maybe required
Wicklow County Council | Avoca / Ballinclash Public Supply | 950 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Wicklow County Council | Blessington Public Supply | 2509 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Wicklow County Council | Donard | 180 | Inadequate treatment for Cryptosporidium
Wicklow County Council | Enniskerry Public Supply | 1500 | Excessive levels of aluminium in the treated water
Wicklow County Council | Glenealy Public Supply | 360 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Wicklow County Council | Grangecon | 80 | Supply identified by the HSE where further investigation or improvement maybe required
Wicklow County Council | Hollywood Public Supply | 11913 | Supply identified by the HSE where further investigation or improvement maybe required
Wicklow County Council | Kirikee (old) | 50 | Inadequate treatment for Cryptosporidium
Wicklow County Council | Kirikee New Public Supply | 60 | Supply identified by the HSE where further investigation or improvement maybe required
Wicklow County Council | Knockananna Public Supply | 170 | Supply identified by the HSE where further investigation or improvement maybe required
Wicklow County Council | Knockanarrigan | 270 | Inadequate treatment for Cryptosporidium
Wicklow County Council | Laragh / Annamoe Public Supply | 815 | Supply identified by the HSE where further investigation or improvement maybe required
Wicklow County Council | Rathdangan | 250 | Inadequate treatment for Cryptosporidium
Wicklow County Council | Rathdrum | 1500 | Inadequate treatment for Cryptosporidium
Wicklow County Council | Stratford | 380 | Inadequate treatment for Cryptosporidium
Wicklow County Council | Thomastown Public Supply | 105 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.
Wicklow County Council | Tinahely Regional Public Supply | 2100 | Supply may not be capable of meeting the new Bromate standard coming into force at the end of 2008
Wicklow County Council | Valleymount | 120 | Inadequate treatment for Cryptosporidium
Wicklow County Council | Wicklow Regional Public Supply | 12152 | Supply may not be capable of meeting the new THM standard coming into force at the end of 2008
Wicklow County Council | Windgates / Templecarrig | 300 | Failed to meet E.coli standard as reported in the Drinking Water Report and needs investigation and improvement if necessary to ensure that the root cause of the problem has been rectified.