## Sheet1
Decomissioning Details
Type of equipment:Fridge, Freezer, Chiller, Air conditioning Unit, Heat pump (Air-to-Air, Air-to-Water, Water-to-Air, Water-to-Water), electrical switchgear, transformer, wind turbine, etc.
Equipment ID Number (Manufacturer's Serial Number)
Type of gas Installed (HFC, ODS, Other)
Name of Gas Installed (R number)
Quantity of gas in Equipment (kilograms)
Is the equipment hermetically sealed? (Yes/No)
Age of Equipment
Quantity of gas removed
Date and time that the equipment was degassed
Details of the decomissioning undertaken and associated timeframes
Measures undertaken to transfer/ recover/ dispose of the gas
Evidence that the company or personnel carrying out the decommissioning are certified under the F-Gas Regulations
Name of the Company/Individual to whom the waste was transferred
Final destination(s) of decomissioned equipment and gas
Waste collection permit number of contractor removing equipment
waste facility permit number or EPA licence of destination of decomissioned equipment
Prior Annual Notification (PAN) for company disposing the gas
List of Waste (LoW) code(s) associated with the waste gase(es)
Certificates of destruction of the gases (if gas was destroyed)
Note on A2: Maria Lenihan: This is for stationary equipment and does not include small domestic fridges in canteens.
Note on M2: F_Gas and ODS legislation sets mandatory leak checking frequencies for equipment above specified thresholds of refrigerant charge. Only the required, mandatory leak checking frequency should be recorded here. These are considered the minimum requirements to ensure good containment of the refrigerant gas. More frequent leak checking may be undertaken as required by the operator.
Note on A3: If you cannot determine the MSN (which should be on a fixed plate on the unit), you can instead record your company's asset number for the unit