## Sheet1
ODS or F-Gas Incident Details
Date leak occurred
Date leak repaired repaired
Details of the type of equipment
Name and location (including a map)of the piece of equipment where the leak arose
Age of equipment
Quantity of gas in Equipment (kilograms)
Type of gas Installed (HFC, ODS, Other)
Name of Gas Installed (R number)
Tonnes Carbon Dioxide equivalent charge [= Mass refrigerant (t) x GWP].
Is the equipment hermetically sealed? (Yes/No)
Automatic leak detection installed? (Yes/No)
Date of last check of automatic leak detection system check (dd/mm/yyyy)
Current leak check regime in place for the equipment (e.g. quarterly, biannually, annnually)
Date and time that the equipment was degassed
Quantity of gas released to atmosphere during the leak (in Kg and in CO2 eq)
Details of the repair/decomissioning undertaken and associated timeframes
Evidence that the company or personnel carrying out the repair/decomissionnig are certified under the F-Gas Regulations
Evidence that a repaired leak is checked by a certified person within one month after the repair to ensure that the repair has been effective
Confirmation on whether the repaired equipment has been reinstalled/has resumed operation
If the equipment is decommissioned or degassed, the measures taken to recover/dispose of the gas.
Provide a detailed root cause analysis report.
Identify preventative measures to be taken in relation to this equipment and whether similar measures are required for other similar equipment on site.
Provide the most recent maintenance record for the equipment (pre-incident).
Provide details of measures to be put in place to ensure that all f-gas leaks are reported to the Agency as soon as practicable going forward (if not reported ASAP).
Note on A27: Maria Lenihan: This is for stationary equipment and does not include small domestic fridges in canteens.
Note on C27: F_Gas and ODS legislation sets mandatory leak checking frequencies for equipment above specified thresholds of refrigerant charge. Only the required, mandatory leak checking frequency should be recorded here. These are considered the minimum requirements to ensure good containment of the refrigerant gas. More frequent leak checking may be undertaken as required by the operator.