## 2023 Graphs (SW1) (hidden)
BOD (2023) Limit 40 mg/l | SS (2023) Limit 50 mg/l | Total Ammonia (2023) Limit 10 mg/l | Ortho-P (2023) Limit 2 mg/l | Month
22.1 | 6 | 0.02 | 0.02 | Jan |  | SW1
24.4 | 5 | 0.02 | 0.02 | Feb
26.2 | 8 | 0.02 | 0.02 | Mar
27.6 | 12 | 0.02 | 0.04 | Apr
17 | 10 | 0.19 | 0.04 | May
20.5 | 4 | 0.15 | 0.11 | Jun | Conductivity requested but not required in Licence so data not available (Ref. C.2.2)
14.5 | 6 | 0.14 | 0.07 | Jul
17.4 | 10 | 0.19 | 0.02 | Aug
16.5 | 6 | 0.31 | 0.02 | Sep
21.9 | 7 | 0.02 | 0.02 | Oct
26.5 | 22 | 0.02 | 0.03 | Nov
18.5 | 15 | 0.13 | 0.08 | Dec
16.2 | 22
28.2 | 18
29.9 | 20
38.2 | 36
31.3 | 35
36 | 22
32.8 | 22
22.6 | 18
26.3 | 15
31.2 | 36
25.1 | 12
10 | 18
32 | 21
35 | 39
11.6 | 26
18.2 | 18
32.9 | 32
28.2 | 22
25.4 | 12
18.3 | 18
20.1 | 12
15.3 | 5
20.1 | 31
22 | 32
21 | 22
23.4 | 18
16.8 | 15
38.1 | 21
38.9 | 20
29.4 | 30
22.8 | 27
25.8 | 28
26.7 | 25
24.3 | 16
30.6 | 16
28.9 | 12
30.4 | 10
28.8 | 15
33 | 12
27.1 | 5

## Explanatary notes
Tab A: example of the outlier removal process for a dataset with no outliers.
Tab B: example of the outlier removal process using a dataset which contains outliers.
Tab C: example of how to determine the TOC “threshold concentration” in similar receiving waterbody.
Tab D: example how to compute trigger levels.

## Tab A
Frequency of collection | Sampling period | COD mg/L | BOD mg/L | suspended solids
Weekly | 2022 | 6
Weekly | 2022 | 7
Weekly | 2022 | 9
Weekly | 2022 | 5
Weekly | 2022 | 9
Weekly | 2022 | 9
Weekly | 2022 | 6
Weekly | 2022 | 8
Weekly | 2022 | 7
Weekly | 2022 | 5
Weekly | 2022 | 5
Weekly | 2022 | 9
Weekly | 2022 | 6
Weekly | 2022 | 9
Weekly | 2022 | 8
Weekly | 2022 | 6
Weekly | 2022 | 5
Weekly | 2022 | 7
| Median | 7
| Standard deviation (Stdev) | 1.5718
| 2 x Stdev | 3.1436
| Median + (2 x Stdev) | 10.1436
No datapoints are greater than [median + (2 x SD)], i.e., 10.14 mg/L. This dataset is outlier free.

## Tab B
| Raw data |  |  |  | Iteration 1 |  |  |  |  | Iteration 2 |  |  |  |  | Iteration 3
| Jan-Dec 2020 |  |  |  | Jan-Dec 2020 |  |  |  |  | Jan-Dec 2020 |  |  |  |  | Jan-Dec 2020
| Week number | pH - raw data | TOC mg/L - raw data |  | Week number | pH | pH datapoints removed | TOC mg/L | TOC datapoints removed | Week number | pH | Datapoints removed | TOC mg/L | Datapoints removed | Week number | pH | Datapoints removed | TOC mg/L | Datapoints removed
| 1 | 7 | 14.2 |  | 1 | 7 |  | 14.2 |  | 1 | 7 |  | 14.2 |  | 1 | 7 |  | 14.2
| 2 | 7.2 | 10.9 |  | 2 | 7.2 |  | 10.9 |  | 2 | 7.2 |  | 10.9 |  | 2 | 7.2 |  | 10.9
| 3 | 7 | 8.3 |  | 3 | 7 |  | 8.3 |  | 3 | 7 |  | 8.3 |  | 3 | 7 |  | 8.3
| 4 | 8 | 19.7 |  | 4 |  | 8 | 19.7 |  | 4 |  | Iteration 1 |  | 19.7 | 4 |  | Iteration 1 |  | Iteration 2
| 5 | 6.9 | 23.1 |  | 5 | 6.9 |  |  | 23.1 | 5 | 6.9 |  |  | Iteration 1 | 5 | 6.9 |  |  | Iteration 1
| 6 | 7 | 11.2 |  | 6 | 7 |  | 11.2 |  | 6 | 7 |  | 11.2 |  | 6 | 7 |  | 11.2
| 7 | 7.3 | 8.6 |  | 7 | 7.3 |  | 8.6 |  | 7 | 7.3 |  | 8.6 |  | 7 | 7.3 |  | 8.6
| 8 | 7.4 | 13 |  | 8 | 7.4 |  | 13 |  | 8 | 7.4 |  | 13 |  | 8 | 7.4 |  | 13
| 9 | 7.1 | 10.7 |  | 9 | 7.1 |  | 10.7 |  | 9 | 7.1 |  | 10.7 |  | 9 | 7.1 |  | 10.7
| 10 | 7.2 | 6.1 |  | 10 | 7.2 |  | 6.1 |  | 10 | 7.2 |  | 6.1 |  | 10 | 7.2 |  | 6.1
| 11 | 7.2 | 13.4 |  | 11 | 7.2 |  | 13.4 |  | 11 | 7.2 |  | 13.4 |  | 11 | 7.2 |  | 13.4
| 12 | 7 | 8.2 |  | 12 | 7 |  | 8.2 |  | 12 | 7 |  | 8.2 |  | 12 | 7 |  | 8.2
| 13 | 6.8 | 10.2 |  | 13 | 6.8 |  | 10.2 |  | 13 | 6.8 |  | 10.2 |  | 13 | 6.8 |  | 10.2
| 14 | 7.2 | 7.1 |  | 14 | 7.2 |  | 7.1 |  | 14 | 7.2 |  | 7.1 |  | 14 | 7.2 |  | 7.1
| 15 | 7.1 | 5.4 |  | 15 | 7.1 |  | 5.4 |  | 15 | 7.1 |  | 5.4 |  | 15 | 7.1 |  | 5.4
| 16 | 7 | 6.3 |  | 16 | 7 |  | 6.3 |  | 16 | 7 |  | 6.3 |  | 16 | 7 |  | 6.3
| 17 | 7 | 8.5 |  | 17 | 7 |  | 8.5 |  | 17 | 7 |  | 8.5 |  | 17 | 7 |  | 8.5
| 18 | 7.1 | 9.2 |  | 18 | 7.1 |  | 9.2 |  | 18 | 7.1 |  | 9.2 |  | 18 | 7.1 |  | 9.2
| 19 | 7 | 9.6 |  | 19 | 7 |  | 9.6 |  | 19 | 7 |  | 9.6 |  | 19 | 7 |  | 9.6
| 20 | 7 | 11.9 |  | 20 | 7 |  | 11.9 |  | 20 | 7 |  | 11.9 |  | 20 | 7 |  | 11.9
| 21 | 7.1 | 7.8 |  | 21 | 7.1 |  | 7.8 |  | 21 | 7.1 |  | 7.8 |  | 21 | 7.1 |  | 7.8
| 22 | 6.8 | 21.4 |  | 22 | 6.8 |  | 21.4 |  | 22 | 6.8 |  |  | 21.4 | 22 | 6.8 |  |  | Iteration 2
| 23 | 6.8 | 7.9 |  | 23 | 6.8 |  | 7.9 |  | 23 | 6.8 |  | 7.9 |  | 23 | 6.8 |  | 7.9
| 24 | 6 | 4.6 |  | 24 |  | 6 | 4.6 |  | 24 |  | Iteration 1 | 4.6 |  | 24 |  | Iteration 1 | 4.6
| 28 | 7 | 8.8 |  | 28 | 7 |  | 8.8 |  | 28 | 7 |  | 8.8 |  | 28 | 7 |  | 8.8
| 30 | 7.1 | 8.5 |  | 30 | 7.1 |  | 8.5 |  | 30 | 7.1 |  | 8.5 |  | 30 | 7.1 |  | 8.5
| 31 | 7 | 10.4 |  | 31 | 7 |  | 10.4 |  | 31 | 7 |  | 10.4 |  | 31 | 7 |  | 10.4
| 32 | 6.9 | 15 |  | 32 | 6.9 |  | 15 |  | 32 | 6.9 |  | 15 |  | 32 | 6.9 |  | 15
| 33 | 7.4 | 10.2 |  | 33 | 7.4 |  | 10.2 |  | 33 | 7.4 |  | 10.2 |  | 33 | 7.4 |  | 10.2
| 34 | 7.2 | 9.7 |  | 34 | 7.2 |  | 9.7 |  | 34 | 7.2 |  | 9.7 |  | 34 | 7.2 |  | 9.7
| 35 | 7.4 | 20.7 |  | 35 | 7.4 |  | 20.7 |  | 35 | 7.4 |  |  | 20.7 | 35 | 7.4 |  |  | Iteration 2
| 36 | 7 | 11.3 |  | 36 | 7 |  | 11.3 |  | 36 | 7 |  | 11.3 |  | 36 | 7 |  | 11.3
| 37 | 6.9 | 12.4 |  | 37 | 6.9 |  | 12.4 |  | 37 | 6.9 |  | 12.4 |  | 37 | 6.9 |  | 12.4
| 38 | 7.3 | 12.5 |  | 38 | 7.3 |  | 12.5 |  | 38 | 7.3 |  | 12.5 |  | 38 | 7.3 |  | 12.5
| 39 | 7 | 15.4 |  | 39 | 7 |  | 15.4 |  | 39 | 7 |  | 15.4 |  | 39 | 7 |  | 15.4
| 40 | 7 | 13.1 |  | 40 | 7 |  | 13.1 |  | 40 | 7 |  | 13.1 |  | 40 | 7 |  | 13.1
| 41 | 7.4 | 17.3 |  | 41 | 7.4 |  | 17.3 |  | 41 | 7.4 |  | 17.3 |  | 41 | 7.4 |  |  | 17.3
| 42 | 7.4 | 25.9 |  | 42 | 7.4 |  |  | 25.9 | 42 | 7.4 |  |  | Iteration 1 | 42 | 7.4 |  |  | Iteration 1
| 43 | 7 | 7.4 |  | 43 | 7 |  | 7.4 |  | 43 | 7 |  | 7.4 |  | 43 | 7 |  | 7.4
| 44 | 7.2 | 11.7 |  | 44 | 7.2 |  | 11.7 |  | 44 | 7.2 |  | 11.7 |  | 44 | 7.2 |  | 11.7
| 45 | 7.2 | 11.7 |  | 45 | 7.2 |  | 11.7 |  | 45 | 7.2 |  | 11.7 |  | 45 | 7.2 |  | 11.7
| 46 | 7.4 | 8.3 |  | 46 | 7.4 |  | 8.3 |  | 46 | 7.4 |  | 8.3 |  | 46 | 7.4 |  | 8.3
| 47 | 7.6 | 24.9 |  | 47 | 7.6 |  |  | 24.9 | 47 |  | 7.6 |  | Iteration 1 | 47 |  | Iteration 2 |  | Iteration 1
| 48 | 7.6 | 27 |  | 48 | 7.6 |  |  | 27 | 48 |  | 7.6 |  | Iteration 1 | 48 |  | Iteration 2 |  | Iteration 1
| 49 | 7.2 | 21.1 |  | 49 | 7.2 |  | 21.1 |  | 49 | 7.2 |  |  | 21.1 | 49 | 7.2 |  |  | Iteration 2
| 50 | 7.3 | 12.3 |  | 50 | 7.3 |  | 12.3 |  | 50 | 7.3 |  | 12.3 |  | 50 | 7.3 |  | 12.3
| 51 | 8.6 | 21.4 |  | 51 |  | 8.6 | 21.4 |  | 51 |  | Iteration 1 |  | 21.4 | 51 |  | Iteration 1 |  | Iteration 2
| 52 | 7 | 16.4 |  | 52 | 7 |  | 16.4 |  | 52 | 7 |  | 16.4 |  | 52 | 7 |  |  | 16.4
Raw Data | Median | 7.1 | 11.25 | Iteration #1 | Median | 7.1 |  | 10.8 |  | Median | 7.1 |  | 10.2 |  | Median | 7.1 |  | 10.2
| Stdev | 0.3549 | 5.6874 |  | Stdev | 0.19932 |  | 4.3935 |  | Stdev | 0.17451 |  | 3.0038 |  | Stdev | 0.17451 |  | 2.6598
| Median + (2xStdev) | 7.8098 | 22.6248 |  | Median + (2xStdev) | 7.4986 |  | 19.5869 |  | Median + (2xStdev) | 7.449 |  | 16.2076 |  | Median + (2xStdev) | 7.449 |  | 15.5197
| Median - (2 x Stdev) | 6.3902 |  |  | Median - (2 x Stdev) | 6.7014 |  |  |  | Median - (2 x Stdev) | 6.751 |  |  |  | Median - (2 x Stdev) | 6.751
All pH values <6.39 and >7.80 shall be removed. These values are highlighted red in colum C. All TOC results > 22.6 mg/L shall be removed. These values are highlighted red in colum D.
[5 empty] | All pH values <6.75 and >7.5 shall be removed.These values are highlighted red in colum C. All TOC results > 19.6 mg/L shall be removed. These values are highlighted red in colum D. | [5 empty] | All pH values <6.75 and >7.45 shall be removed. There are no such values, thus no values are highlight red. The pH dataset is now outlier-free. All TOC results > 16.2 mg/L shall be removed. These values are highlighted red in colum D. |  |  |  | The pH dataset is now outlier-free (iteration #2). All TOC results > 15.5 mg/L shall be removed. There are no such values, thus no values are highlight red. The pH dataset is now outlier-free.

## Tab C
Facility/installaion discharges to the Liffey, waterbody Camac_010 (IE_EA_09C020100) in south country Dublin. This waterbody is at poor ecological status (2016-2021). Chloride is the parameter of concern.
A nearby river in an ajdacent catchment that is representative may be found directly south, Brittas_020 (IE_EA_09B020500) and Brittas_010 (IE_EA_09B020300). There are seven EPA monitoring stations spread across both streams.
The two monitoring locations to the east are located in an area of forestry and thus should not be included in the assessment as this landuse may impact the water quality and render it unrepresentative (orange rectangle).
Chloride data is available for two stations (x and X), which results in 40 and 10 datapoints respectively, totally a dataset comprising 50 datapoints 2007-20028 (x location) and 2016-2024 (x location). This datset was downloaded from the Catchments.ie website by following the url link on the EPAmaps "River Waterbodies risk" layer (green rectangle above).
The chloride dataset is presented below.
WaterbodyName | WaterbodyCode | Waterbodytype | MonitoringStationCode | MonitoringStationName | MonitoringStationType | MonitoringStationLocalAuthority | SampleCode | SampleDate | SampleMethod | ParameterName | ParameterUnitShortCode | ParameterUnitName | Result | TextResult | ResultString | LimitOfDetection | ReportResult | ReportTextResult | ReportResultString | ReportLimit
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-02218 | 2017-02-13 | None | Chloride | mg/l | milligrams per litre | 14.9 |  | OK | 2 | 14.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-03753 | 2017-03-15 | None | Chloride | mg/l | milligrams per litre | 14.2 |  | OK | 2 | 14.2 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-10695 | 2017-07-05 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-02469 | 2018-03-22 | None | Chloride | mg/l | milligrams per litre | 17.7 |  | OK | 2 | 17.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-06109 | 2018-05-15 | None | Chloride | mg/l | milligrams per litre | 15.9 |  | OK | 2 | 15.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-10314 | 2018-07-11 | None | Chloride | mg/l | milligrams per litre | 17.1 |  | OK | 2 | 17.1 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-01990 | 2019-02-21 | None | Chloride | mg/l | milligrams per litre | 16.5 |  | OK | 2 | 16.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-02379 | 2019-03-06 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-03391 | 2016-03-09 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-06604 | 2016-05-26 | None | Chloride | mg/l | milligrams per litre | 13.5 |  | OK | 2 | 13.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-10433 | 2016-07-06 | None | Chloride | mg/l | milligrams per litre | 13.1 |  | OK | 2 | 13.1 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-14940 | 2017-09-06 | None | Chloride | mg/l | milligrams per litre | 13.9 |  | OK | 2 | 13.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-16343 | 2018-10-17 | None | Chloride | mg/l | milligrams per litre | 10.5 |  | OK | 2 | 10.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-06031 | 2019-05-08 | None | Chloride | mg/l | milligrams per litre | 15.8 |  | OK | 2 | 15.8 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-09826 | 2019-07-17 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-03453 | 2020-03-24 | None | Chloride | mg/l | milligrams per litre | 14.5 |  | OK | 2 | 14.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-06377 | 2020-05-05 | None | Chloride | mg/l | milligrams per litre | 7.82 |  | OK | 2 | 7.82 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-13823 | 2020-09-22 | None | Chloride | mg/l | milligrams per litre | 11.3 |  | OK | 2 | 11.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-03128 | 2021-03-23 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-05092 | 2021-04-21 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-16526 | 2021-10-11 | None | Chloride | mg/l | milligrams per litre | 13.4 |  | OK | 2 | 13.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-06945 | 2022-05-04 | None | Chloride | mg/l | milligrams per litre | 8.08 |  | OK | 2 | 8.08 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-16000 | 2022-10-10 | None | Chloride | mg/l | milligrams per litre | 11.5 |  | OK | 2 | 11.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-00937 | 2023-02-09 | None | Chloride | mg/l | milligrams per litre | 12.4 |  | OK | 2 | 12.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-15392 | 2020-10-12 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-11332 | 2021-08-31 | None | Chloride | mg/l | milligrams per litre | 9.57 |  | OK | 2 | 9.57 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-13716 | 2022-09-20 | None | Chloride | mg/l | milligrams per litre | 12.3 |  | OK | 2 | 12.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 24-03389 | 2024-04-11 | None | Chloride | mg/l | milligrams per litre | 12.3 |  | OK | 2 | 12.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-14283 | 2016-09-14 | None | Chloride | mg/l | milligrams per litre | 13 |  | OK | 2 | 13 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-01748 | 2018-02-12 | None | Chloride | mg/l | milligrams per litre | 14.3 |  | OK | 2 | 14.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-13943 | 2019-10-14 | None | Chloride | mg/l | milligrams per litre | 13.6 |  | OK | 2 | 13.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-06217 | 2021-05-11 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-15561 | 2023-11-16 | None | Chloride | mg/l | milligrams per litre | 13.8 |  | OK | 2 | 13.8 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-06567 | 2017-05-10 | None | Chloride | mg/l | milligrams per litre | 15.4 |  | OK | 2 | 15.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-06377 | 2020-05-12 | None | Chloride | mg/l | milligrams per litre | 7.82 |  | OK | 2 | 7.82 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-02899 | 2022-03-22 | None | Chloride | mg/l | milligrams per litre | 13.2 |  | OK | 2 | 13.2 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-03378 | 2022-04-20 | None | Chloride | mg/l | milligrams per litre | 13.7 |  | OK | 2 | 13.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-05862 | 2023-05-04 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-12872 | 2023-09-28 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 24-02606 | 2024-03-20 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1076583 | 2015-11-13 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  |  | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1037139 | 2015-08-07 | Grab | Chloride | mg/l | milligrams per litre | 20 |  |  |  | 20
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16894 | 2007-03-28 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 195644 | 2008-12-11 | None | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 252496 | 2009-05-07 | Grab | Chloride | mg/l | milligrams per litre | 16 |  |  | 0 | 16 | 16
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 402684 | 2010-05-06 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 718647 | 2013-02-07 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 83333 | 2007-12-12 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 844352 | 2014-03-07 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 936438 | 2014-11-14 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  |  | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 369678 | 2010-02-11 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 452084 | 2010-09-10 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 687112 | 2012-11-08 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 783665 | 2013-08-23 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 966290 | 2015-02-06 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 867426 | 2014-05-16 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 101309 | 2008-03-06 | None | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 133722 | 2008-06-26 | None | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 292090 | 2009-08-06 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  | 0 | 11 | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 751468 | 2013-05-16 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 899424 | 2014-08-08 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1001313 | 2015-05-15 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 160967 | 2008-09-10 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  | 0 | 12 | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 216509 | 2009-02-12 | Grab | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 33058 | 2007-06-13 | Grab | Chloride | mg/l | milligrams per litre | 24 |  |  |  | 24
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 332966 | 2009-11-04 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  | 0 | 10 | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 49421 | 2007-08-10 | Grab | Chloride | mg/l | milligrams per litre | 64 |  |  |  | 64
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 524146 | 2011-05-13 | Grab | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 629512 | 2012-05-17 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 810924 | 2013-11-15 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530191 | 2007-01-18 | Grab | Chloride | mg/l | milligrams per litre | 15.9 | BLD | 15.9 | 2 | 7.95 | <15.9 | BLD | 15.9
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530612 | 2008-03-06 | Grab | Chloride | mg/l | milligrams per litre | 13.1 | OK | 13.1 | 2 | 13.1 | 13.1 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7531431 | 2007-07-19 | Grab | Chloride | mg/l | milligrams per litre | 12.8 | OK | 12.8 | 2 | 12.8 | 12.8 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530801 | 2008-04-03 | Grab | Chloride | mg/l | milligrams per litre | 13 | OK | 13 | 2 | 13 | 13 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530632 | 2007-03-22 | Grab | Chloride | mg/l | milligrams per litre | 15.9 | OK | 15.9 | 2 | 15.9 | 15.9 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530282 | 2008-01-31 | Grab | Chloride | mg/l | milligrams per litre | 14.2 | OK | 14.2 | 2 | 14.2 | 14.2 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530985 | 2007-05-17 | Grab | Chloride | mg/l | milligrams per litre | 16.1 | OK | 16.1 | 2 | 16.1 | 16.1 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7531958 | 2007-09-27 | Grab | Chloride | mg/l | milligrams per litre | 14 | OK | 14 | 2 | 14 | 14 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7532396 | 2007-11-15 | Grab | Chloride | mg/l | milligrams per litre | 14.2 | OK | 14.2 | 2 | 14.2 | 14.2 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530044 | 2008-01-03 | Grab | Chloride | mg/l | milligrams per litre | 12.2 | OK | 12.2 | 2 | 12.2 | 12.2 | OK | 2
[16 empty] | Median | 13
[16 empty] | Stdev | 6.201
[16 empty] | 2 x stdev | 12.4019
[16 empty] | Median + (2 x stdev) | 25.4019
[16 empty] | Values >25.4 | 64
One outlier, 64 mg/L at Br NE of Talbotstown House on 10/08/2007 was removed from the dataset and the outliers re-computed
WaterbodyName | WaterbodyCode | Waterbodytype | MonitoringStationCode | MonitoringStationName | MonitoringStationType | MonitoringStationLocalAuthority | SampleCode | SampleDate | SampleMethod | ParameterName | ParameterUnitShortCode | ParameterUnitName | Result | TextResult | ResultString | LimitOfDetection | ReportResult | ReportTextResult | ReportResultString | ReportLimit
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-02218 | 2017-02-13 | None | Chloride | mg/l | milligrams per litre | 14.9 |  | OK | 2 | 14.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-03753 | 2017-03-15 | None | Chloride | mg/l | milligrams per litre | 14.2 |  | OK | 2 | 14.2 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-10695 | 2017-07-05 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-02469 | 2018-03-22 | None | Chloride | mg/l | milligrams per litre | 17.7 |  | OK | 2 | 17.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-06109 | 2018-05-15 | None | Chloride | mg/l | milligrams per litre | 15.9 |  | OK | 2 | 15.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-10314 | 2018-07-11 | None | Chloride | mg/l | milligrams per litre | 17.1 |  | OK | 2 | 17.1 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-01990 | 2019-02-21 | None | Chloride | mg/l | milligrams per litre | 16.5 |  | OK | 2 | 16.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-02379 | 2019-03-06 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-03391 | 2016-03-09 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-06604 | 2016-05-26 | None | Chloride | mg/l | milligrams per litre | 13.5 |  | OK | 2 | 13.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-10433 | 2016-07-06 | None | Chloride | mg/l | milligrams per litre | 13.1 |  | OK | 2 | 13.1 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-14940 | 2017-09-06 | None | Chloride | mg/l | milligrams per litre | 13.9 |  | OK | 2 | 13.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-16343 | 2018-10-17 | None | Chloride | mg/l | milligrams per litre | 10.5 |  | OK | 2 | 10.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-06031 | 2019-05-08 | None | Chloride | mg/l | milligrams per litre | 15.8 |  | OK | 2 | 15.8 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-09826 | 2019-07-17 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-03453 | 2020-03-24 | None | Chloride | mg/l | milligrams per litre | 14.5 |  | OK | 2 | 14.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-06377 | 2020-05-05 | None | Chloride | mg/l | milligrams per litre | 7.82 |  | OK | 2 | 7.82 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-13823 | 2020-09-22 | None | Chloride | mg/l | milligrams per litre | 11.3 |  | OK | 2 | 11.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-03128 | 2021-03-23 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-05092 | 2021-04-21 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-16526 | 2021-10-11 | None | Chloride | mg/l | milligrams per litre | 13.4 |  | OK | 2 | 13.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-06945 | 2022-05-04 | None | Chloride | mg/l | milligrams per litre | 8.08 |  | OK | 2 | 8.08 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-16000 | 2022-10-10 | None | Chloride | mg/l | milligrams per litre | 11.5 |  | OK | 2 | 11.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-00937 | 2023-02-09 | None | Chloride | mg/l | milligrams per litre | 12.4 |  | OK | 2 | 12.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-15392 | 2020-10-12 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-11332 | 2021-08-31 | None | Chloride | mg/l | milligrams per litre | 9.57 |  | OK | 2 | 9.57 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-13716 | 2022-09-20 | None | Chloride | mg/l | milligrams per litre | 12.3 |  | OK | 2 | 12.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 24-03389 | 2024-04-11 | None | Chloride | mg/l | milligrams per litre | 12.3 |  | OK | 2 | 12.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-14283 | 2016-09-14 | None | Chloride | mg/l | milligrams per litre | 13 |  | OK | 2 | 13 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-01748 | 2018-02-12 | None | Chloride | mg/l | milligrams per litre | 14.3 |  | OK | 2 | 14.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-13943 | 2019-10-14 | None | Chloride | mg/l | milligrams per litre | 13.6 |  | OK | 2 | 13.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-06217 | 2021-05-11 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-15561 | 2023-11-16 | None | Chloride | mg/l | milligrams per litre | 13.8 |  | OK | 2 | 13.8 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-06567 | 2017-05-10 | None | Chloride | mg/l | milligrams per litre | 15.4 |  | OK | 2 | 15.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-06377 | 2020-05-12 | None | Chloride | mg/l | milligrams per litre | 7.82 |  | OK | 2 | 7.82 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-02899 | 2022-03-22 | None | Chloride | mg/l | milligrams per litre | 13.2 |  | OK | 2 | 13.2 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-03378 | 2022-04-20 | None | Chloride | mg/l | milligrams per litre | 13.7 |  | OK | 2 | 13.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-05862 | 2023-05-04 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-12872 | 2023-09-28 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 24-02606 | 2024-03-20 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1076583 | 2015-11-13 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  |  | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1037139 | 2015-08-07 | Grab | Chloride | mg/l | milligrams per litre | 20 |  |  |  | 20
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16894 | 2007-03-28 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 195644 | 2008-12-11 | None | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 252496 | 2009-05-07 | Grab | Chloride | mg/l | milligrams per litre | 16 |  |  | 0 | 16 | 16
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 402684 | 2010-05-06 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 718647 | 2013-02-07 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 83333 | 2007-12-12 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 844352 | 2014-03-07 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 936438 | 2014-11-14 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  |  | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 369678 | 2010-02-11 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 452084 | 2010-09-10 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 687112 | 2012-11-08 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 783665 | 2013-08-23 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 966290 | 2015-02-06 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 867426 | 2014-05-16 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 101309 | 2008-03-06 | None | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 133722 | 2008-06-26 | None | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 292090 | 2009-08-06 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  | 0 | 11 | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 751468 | 2013-05-16 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 899424 | 2014-08-08 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1001313 | 2015-05-15 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 160967 | 2008-09-10 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  | 0 | 12 | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 216509 | 2009-02-12 | Grab | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 33058 | 2007-06-13 | Grab | Chloride | mg/l | milligrams per litre | 24 |  |  |  | 24
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 332966 | 2009-11-04 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  | 0 | 10 | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 49421 | 2007-08-10 | Grab | Chloride | mg/l | milligrams per litre | 64
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 524146 | 2011-05-13 | Grab | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 629512 | 2012-05-17 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 810924 | 2013-11-15 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530191 | 2007-01-18 | Grab | Chloride | mg/l | milligrams per litre | 15.9 | BLD | 15.9 | 2 | 7.95 | <15.9 | BLD | 15.9
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530612 | 2008-03-06 | Grab | Chloride | mg/l | milligrams per litre | 13.1 | OK | 13.1 | 2 | 13.1 | 13.1 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7531431 | 2007-07-19 | Grab | Chloride | mg/l | milligrams per litre | 12.8 | OK | 12.8 | 2 | 12.8 | 12.8 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530801 | 2008-04-03 | Grab | Chloride | mg/l | milligrams per litre | 13 | OK | 13 | 2 | 13 | 13 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530632 | 2007-03-22 | Grab | Chloride | mg/l | milligrams per litre | 15.9 | OK | 15.9 | 2 | 15.9 | 15.9 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530282 | 2008-01-31 | Grab | Chloride | mg/l | milligrams per litre | 14.2 | OK | 14.2 | 2 | 14.2 | 14.2 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530985 | 2007-05-17 | Grab | Chloride | mg/l | milligrams per litre | 16.1 | OK | 16.1 | 2 | 16.1 | 16.1 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7531958 | 2007-09-27 | Grab | Chloride | mg/l | milligrams per litre | 14 | OK | 14 | 2 | 14 | 14 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7532396 | 2007-11-15 | Grab | Chloride | mg/l | milligrams per litre | 14.2 | OK | 14.2 | 2 | 14.2 | 14.2 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530044 | 2008-01-03 | Grab | Chloride | mg/l | milligrams per litre | 12.2 | OK | 12.2 | 2 | 12.2 | 12.2 | OK | 2
[16 empty] | Median | 13
[16 empty] | Stdev | 2.4605
[16 empty] | 2 x stdev | 4.9209
[16 empty] | Median + (2 x stdev) | 17.9209
[16 empty] | Values >19.9? | 20, 24
Two outliers, 24 mg/L and 20mg/L removed and outlier detection calculation recomputed.
WaterbodyName | WaterbodyCode | Waterbodytype | MonitoringStationCode | MonitoringStationName | MonitoringStationType | MonitoringStationLocalAuthority | SampleCode | SampleDate | SampleMethod | ParameterName | ParameterUnitShortCode | ParameterUnitName | Result | TextResult | ResultString | LimitOfDetection | ReportResult | ReportTextResult | ReportResultString | ReportLimit
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-02218 | 2017-02-13 | None | Chloride | mg/l | milligrams per litre | 14.9 |  | OK | 2 | 14.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-03753 | 2017-03-15 | None | Chloride | mg/l | milligrams per litre | 14.2 |  | OK | 2 | 14.2 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-10695 | 2017-07-05 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-02469 | 2018-03-22 | None | Chloride | mg/l | milligrams per litre | 17.7 |  | OK | 2 | 17.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-06109 | 2018-05-15 | None | Chloride | mg/l | milligrams per litre | 15.9 |  | OK | 2 | 15.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-10314 | 2018-07-11 | None | Chloride | mg/l | milligrams per litre | 17.1 |  | OK | 2 | 17.1 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-01990 | 2019-02-21 | None | Chloride | mg/l | milligrams per litre | 16.5 |  | OK | 2 | 16.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-02379 | 2019-03-06 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-03391 | 2016-03-09 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-06604 | 2016-05-26 | None | Chloride | mg/l | milligrams per litre | 13.5 |  | OK | 2 | 13.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-10433 | 2016-07-06 | None | Chloride | mg/l | milligrams per litre | 13.1 |  | OK | 2 | 13.1 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-14940 | 2017-09-06 | None | Chloride | mg/l | milligrams per litre | 13.9 |  | OK | 2 | 13.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-16343 | 2018-10-17 | None | Chloride | mg/l | milligrams per litre | 10.5 |  | OK | 2 | 10.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-06031 | 2019-05-08 | None | Chloride | mg/l | milligrams per litre | 15.8 |  | OK | 2 | 15.8 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-09826 | 2019-07-17 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-03453 | 2020-03-24 | None | Chloride | mg/l | milligrams per litre | 14.5 |  | OK | 2 | 14.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-06377 | 2020-05-05 | None | Chloride | mg/l | milligrams per litre | 7.82 |  | OK | 2 | 7.82 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-13823 | 2020-09-22 | None | Chloride | mg/l | milligrams per litre | 11.3 |  | OK | 2 | 11.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-03128 | 2021-03-23 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-05092 | 2021-04-21 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-16526 | 2021-10-11 | None | Chloride | mg/l | milligrams per litre | 13.4 |  | OK | 2 | 13.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-06945 | 2022-05-04 | None | Chloride | mg/l | milligrams per litre | 8.08 |  | OK | 2 | 8.08 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-16000 | 2022-10-10 | None | Chloride | mg/l | milligrams per litre | 11.5 |  | OK | 2 | 11.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-00937 | 2023-02-09 | None | Chloride | mg/l | milligrams per litre | 12.4 |  | OK | 2 | 12.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-15392 | 2020-10-12 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-11332 | 2021-08-31 | None | Chloride | mg/l | milligrams per litre | 9.57 |  | OK | 2 | 9.57 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-13716 | 2022-09-20 | None | Chloride | mg/l | milligrams per litre | 12.3 |  | OK | 2 | 12.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 24-03389 | 2024-04-11 | None | Chloride | mg/l | milligrams per litre | 12.3 |  | OK | 2 | 12.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-14283 | 2016-09-14 | None | Chloride | mg/l | milligrams per litre | 13 |  | OK | 2 | 13 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-01748 | 2018-02-12 | None | Chloride | mg/l | milligrams per litre | 14.3 |  | OK | 2 | 14.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-13943 | 2019-10-14 | None | Chloride | mg/l | milligrams per litre | 13.6 |  | OK | 2 | 13.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-06217 | 2021-05-11 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-15561 | 2023-11-16 | None | Chloride | mg/l | milligrams per litre | 13.8 |  | OK | 2 | 13.8 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-06567 | 2017-05-10 | None | Chloride | mg/l | milligrams per litre | 15.4 |  | OK | 2 | 15.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-06377 | 2020-05-12 | None | Chloride | mg/l | milligrams per litre | 7.82 |  | OK | 2 | 7.82 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-02899 | 2022-03-22 | None | Chloride | mg/l | milligrams per litre | 13.2 |  | OK | 2 | 13.2 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-03378 | 2022-04-20 | None | Chloride | mg/l | milligrams per litre | 13.7 |  | OK | 2 | 13.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-05862 | 2023-05-04 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-12872 | 2023-09-28 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 24-02606 | 2024-03-20 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1076583 | 2015-11-13 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  |  | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1037139 | 2015-08-07 | Grab | Chloride | mg/l | milligrams per litre | 20
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16894 | 2007-03-28 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 195644 | 2008-12-11 | None | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 252496 | 2009-05-07 | Grab | Chloride | mg/l | milligrams per litre | 16 |  |  | 0 | 16 | 16
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 402684 | 2010-05-06 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 718647 | 2013-02-07 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 83333 | 2007-12-12 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 844352 | 2014-03-07 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 936438 | 2014-11-14 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  |  | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 369678 | 2010-02-11 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 452084 | 2010-09-10 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 687112 | 2012-11-08 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 783665 | 2013-08-23 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 966290 | 2015-02-06 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 867426 | 2014-05-16 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 101309 | 2008-03-06 | None | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 133722 | 2008-06-26 | None | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 292090 | 2009-08-06 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  | 0 | 11 | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 751468 | 2013-05-16 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 899424 | 2014-08-08 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1001313 | 2015-05-15 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 160967 | 2008-09-10 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  | 0 | 12 | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 216509 | 2009-02-12 | Grab | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 33058 | 2007-06-13 | Grab | Chloride | mg/l | milligrams per litre | 24
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 332966 | 2009-11-04 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  | 0 | 10 | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 49421 | 2007-08-10 | Grab | Chloride | mg/l | milligrams per litre | 64
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 524146 | 2011-05-13 | Grab | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 629512 | 2012-05-17 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 810924 | 2013-11-15 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530191 | 2007-01-18 | Grab | Chloride | mg/l | milligrams per litre | 15.9 | BLD | 15.9 | 2 | 7.95 | <15.9 | BLD | 15.9
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530612 | 2008-03-06 | Grab | Chloride | mg/l | milligrams per litre | 13.1 | OK | 13.1 | 2 | 13.1 | 13.1 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7531431 | 2007-07-19 | Grab | Chloride | mg/l | milligrams per litre | 12.8 | OK | 12.8 | 2 | 12.8 | 12.8 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530801 | 2008-04-03 | Grab | Chloride | mg/l | milligrams per litre | 13 | OK | 13 | 2 | 13 | 13 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530632 | 2007-03-22 | Grab | Chloride | mg/l | milligrams per litre | 15.9 | OK | 15.9 | 2 | 15.9 | 15.9 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530282 | 2008-01-31 | Grab | Chloride | mg/l | milligrams per litre | 14.2 | OK | 14.2 | 2 | 14.2 | 14.2 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530985 | 2007-05-17 | Grab | Chloride | mg/l | milligrams per litre | 16.1 | OK | 16.1 | 2 | 16.1 | 16.1 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7531958 | 2007-09-27 | Grab | Chloride | mg/l | milligrams per litre | 14 | OK | 14 | 2 | 14 | 14 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7532396 | 2007-11-15 | Grab | Chloride | mg/l | milligrams per litre | 14.2 | OK | 14.2 | 2 | 14.2 | 14.2 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530044 | 2008-01-03 | Grab | Chloride | mg/l | milligrams per litre | 12.2 | OK | 12.2 | 2 | 12.2 | 12.2 | OK | 2
[16 empty] | Median | 13
[16 empty] | Stdev | 1.9838
[16 empty] | 2 x stdev | 3.9675
[16 empty] | Median + (2 x stdev) | 16.9675
[16 empty] | Values >16.97? | 17.7, 17.1
Two outliers, 17.7 mg/L and 17.1 mg/L removed and outlier detection calculation recomputed. No outliers remain. The median and 95%ile are thus calculated from this dataset, as shown.
WaterbodyName | WaterbodyCode | Waterbodytype | MonitoringStationCode | MonitoringStationName | MonitoringStationType | MonitoringStationLocalAuthority | SampleCode | SampleDate | SampleMethod | ParameterName | ParameterUnitShortCode | ParameterUnitName | Result | TextResult | ResultString | LimitOfDetection | ReportResult | ReportTextResult | ReportResultString | ReportLimit
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-02218 | 2017-02-13 | None | Chloride | mg/l | milligrams per litre | 14.9 |  | OK | 2 | 14.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-03753 | 2017-03-15 | None | Chloride | mg/l | milligrams per litre | 14.2 |  | OK | 2 | 14.2 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-10695 | 2017-07-05 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-02469 | 2018-03-22 | None | Chloride | mg/l | milligrams per litre | 17.7 |  | OK | 2 |  |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-06109 | 2018-05-15 | None | Chloride | mg/l | milligrams per litre | 15.9 |  | OK | 2 | 15.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-10314 | 2018-07-11 | None | Chloride | mg/l | milligrams per litre | 17.1 |  | OK | 2 |  |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-01990 | 2019-02-21 | None | Chloride | mg/l | milligrams per litre | 16.5 |  | OK | 2 | 16.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-02379 | 2019-03-06 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-03391 | 2016-03-09 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-06604 | 2016-05-26 | None | Chloride | mg/l | milligrams per litre | 13.5 |  | OK | 2 | 13.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-10433 | 2016-07-06 | None | Chloride | mg/l | milligrams per litre | 13.1 |  | OK | 2 | 13.1 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-14940 | 2017-09-06 | None | Chloride | mg/l | milligrams per litre | 13.9 |  | OK | 2 | 13.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-16343 | 2018-10-17 | None | Chloride | mg/l | milligrams per litre | 10.5 |  | OK | 2 | 10.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-06031 | 2019-05-08 | None | Chloride | mg/l | milligrams per litre | 15.8 |  | OK | 2 | 15.8 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-09826 | 2019-07-17 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-03453 | 2020-03-24 | None | Chloride | mg/l | milligrams per litre | 14.5 |  | OK | 2 | 14.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-06377 | 2020-05-05 | None | Chloride | mg/l | milligrams per litre | 7.82 |  | OK | 2 | 7.82 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-13823 | 2020-09-22 | None | Chloride | mg/l | milligrams per litre | 11.3 |  | OK | 2 | 11.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-03128 | 2021-03-23 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-05092 | 2021-04-21 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-16526 | 2021-10-11 | None | Chloride | mg/l | milligrams per litre | 13.4 |  | OK | 2 | 13.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-06945 | 2022-05-04 | None | Chloride | mg/l | milligrams per litre | 8.08 |  | OK | 2 | 8.08 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-16000 | 2022-10-10 | None | Chloride | mg/l | milligrams per litre | 11.5 |  | OK | 2 | 11.5 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-00937 | 2023-02-09 | None | Chloride | mg/l | milligrams per litre | 12.4 |  | OK | 2 | 12.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-15392 | 2020-10-12 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-11332 | 2021-08-31 | None | Chloride | mg/l | milligrams per litre | 9.57 |  | OK | 2 | 9.57 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-13716 | 2022-09-20 | None | Chloride | mg/l | milligrams per litre | 12.3 |  | OK | 2 | 12.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 24-03389 | 2024-04-11 | None | Chloride | mg/l | milligrams per litre | 12.3 |  | OK | 2 | 12.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16-14283 | 2016-09-14 | None | Chloride | mg/l | milligrams per litre | 13 |  | OK | 2 | 13 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 18-01748 | 2018-02-12 | None | Chloride | mg/l | milligrams per litre | 14.3 |  | OK | 2 | 14.3 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 19-13943 | 2019-10-14 | None | Chloride | mg/l | milligrams per litre | 13.6 |  | OK | 2 | 13.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 21-06217 | 2021-05-11 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-15561 | 2023-11-16 | None | Chloride | mg/l | milligrams per litre | 13.8 |  | OK | 2 | 13.8 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 17-06567 | 2017-05-10 | None | Chloride | mg/l | milligrams per litre | 15.4 |  | OK | 2 | 15.4 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 20-06377 | 2020-05-12 | None | Chloride | mg/l | milligrams per litre | 7.82 |  | OK | 2 | 7.82 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-02899 | 2022-03-22 | None | Chloride | mg/l | milligrams per litre | 13.2 |  | OK | 2 | 13.2 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 22-03378 | 2022-04-20 | None | Chloride | mg/l | milligrams per litre | 13.7 |  | OK | 2 | 13.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-05862 | 2023-05-04 | None | Chloride | mg/l | milligrams per litre | 12.9 |  | OK | 2 | 12.9 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 23-12872 | 2023-09-28 | None | Chloride | mg/l | milligrams per litre | 11.7 |  | OK | 2 | 11.7 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 24-02606 | 2024-03-20 | None | Chloride | mg/l | milligrams per litre | 12.6 |  | OK | 2 | 12.6 |  | OK | 2
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1076583 | 2015-11-13 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  |  | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1037139 | 2015-08-07 | Grab | Chloride | mg/l | milligrams per litre | 20
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 16894 | 2007-03-28 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 195644 | 2008-12-11 | None | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 252496 | 2009-05-07 | Grab | Chloride | mg/l | milligrams per litre | 16 |  |  | 0 | 16 | 16
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 402684 | 2010-05-06 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 718647 | 2013-02-07 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 83333 | 2007-12-12 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 844352 | 2014-03-07 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 936438 | 2014-11-14 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  |  | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 369678 | 2010-02-11 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 452084 | 2010-09-10 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 687112 | 2012-11-08 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 783665 | 2013-08-23 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 966290 | 2015-02-06 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 867426 | 2014-05-16 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 101309 | 2008-03-06 | None | Chloride | mg/l | milligrams per litre | 13 |  |  | 0 | 13 | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 133722 | 2008-06-26 | None | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 292090 | 2009-08-06 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  | 0 | 11 | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 751468 | 2013-05-16 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 899424 | 2014-08-08 | Grab | Chloride | mg/l | milligrams per litre | 11 |  |  |  | 11
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 1001313 | 2015-05-15 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 160967 | 2008-09-10 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  | 0 | 12 | 12
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 216509 | 2009-02-12 | Grab | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 33058 | 2007-06-13 | Grab | Chloride | mg/l | milligrams per litre | 24
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 332966 | 2009-11-04 | Grab | Chloride | mg/l | milligrams per litre | 10 |  |  | 0 | 10 | 10
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 49421 | 2007-08-10 | Grab | Chloride | mg/l | milligrams per litre | 64
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 524146 | 2011-05-13 | Grab | Chloride | mg/l | milligrams per litre | 14 |  |  | 0 | 14 | 14
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 629512 | 2012-05-17 | Grab | Chloride | mg/l | milligrams per litre | 13 |  |  |  | 13
BRITTAS_010 | IE_EA_09B020300 | River | RS09B020100 | Br NE of Talbotstown House | Operational | South Dublin County Council | 810924 | 2013-11-15 | Grab | Chloride | mg/l | milligrams per litre | 12 |  |  |  | 12
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530191 | 2007-01-18 | Grab | Chloride | mg/l | milligrams per litre | 15.9 | BLD | 15.9 | 2 | 7.95 | <15.9 | BLD | 15.9
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530612 | 2008-03-06 | Grab | Chloride | mg/l | milligrams per litre | 13.1 | OK | 13.1 | 2 | 13.1 | 13.1 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7531431 | 2007-07-19 | Grab | Chloride | mg/l | milligrams per litre | 12.8 | OK | 12.8 | 2 | 12.8 | 12.8 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530801 | 2008-04-03 | Grab | Chloride | mg/l | milligrams per litre | 13 | OK | 13 | 2 | 13 | 13 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530632 | 2007-03-22 | Grab | Chloride | mg/l | milligrams per litre | 15.9 | OK | 15.9 | 2 | 15.9 | 15.9 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530282 | 2008-01-31 | Grab | Chloride | mg/l | milligrams per litre | 14.2 | OK | 14.2 | 2 | 14.2 | 14.2 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7530985 | 2007-05-17 | Grab | Chloride | mg/l | milligrams per litre | 16.1 | OK | 16.1 | 2 | 16.1 | 16.1 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7531958 | 2007-09-27 | Grab | Chloride | mg/l | milligrams per litre | 14 | OK | 14 | 2 | 14 | 14 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 7532396 | 2007-11-15 | Grab | Chloride | mg/l | milligrams per litre | 14.2 | OK | 14.2 | 2 | 14.2 | 14.2 | OK | 2
BRITTAS_020 | IE_EA_09B020500 | River | RS09B020500 | Kilbride Br | Operational | Wicklow County Council | 8530044 | 2008-01-03 | Grab | Chloride | mg/l | milligrams per litre | 12.2 | OK | 12.2 | 2 | 12.2 | 12.2 | OK | 2
[16 empty] | Median | 13
[16 empty] | Stdev | 1.8577
[16 empty] | 2 x stdev | 3.7155
[16 empty] | Median + (2 x stdev) | 16.7155
[16 empty] | Values >16.7? | -
[16 empty] | Median | 13 | mg/L
[16 empty] | Mean | 12.6739 | mg/L
[16 empty] | 95%ile | 15.9 | mg/L

## Tab D
The final outlier-free dataset process in Tab B will be used to computer trigger levels.
Jan-Dec 2020
| Week number | pH | TOC mg/L
| 1 | 7 | 14.2
| 2 | 7.2 | 10.9
| 3 | 7 | 8.3
4
| 5 | 6.9
| 6 | 7 | 11.2
| 7 | 7.3 | 8.6
| 8 | 7.4 | 13
| 9 | 7.1 | 10.7
| 10 | 7.2 | 6.1
| 11 | 7.2 | 13.4
| 12 | 7 | 8.2
| 13 | 6.8 | 10.2
| 14 | 7.2 | 7.1
| 15 | 7.1 | 5.4
| 16 | 7 | 6.3
| 17 | 7 | 8.5
| 18 | 7.1 | 9.2
| 19 | 7 | 9.6
| 20 | 7 | 11.9
| 21 | 7.1 | 7.8
| 22 | 6.8
| 23 | 6.8 | 7.9
| 24 |  | 4.6
| 28 | 7 | 8.8
| 30 | 7.1 | 8.5
| 31 | 7 | 10.4
| 32 | 6.9 | 15
| 33 | 7.4 | 10.2
| 34 | 7.2 | 9.7
| 35 | 7.4
| 36 | 7 | 11.3
| 37 | 6.9 | 12.4
| 38 | 7.3 | 12.5
| 39 | 7 | 15.4
| 40 | 7 | 13.1
| 41 | 7.4
| 42 | 7.4
| 43 | 7 | 7.4
| 44 | 7.2 | 11.7
| 45 | 7.2 | 11.7
| 46 | 7.4 | 8.3
47
48
| 49 | 7.2
| 50 | 7.3 | 12.3
51
| 52 | 7
| Median | 7.1 | 10.2
| Stdev | 0.17451 | 2.6598
| 3 x Stdev | 0.52353 | 7.9795
| Median + (3 x Stdev) | 7.6235 | 18.1795
| Median - (3 x Stdev) | 6.751
The TOC trigger level (action level) is 18.2 mg/L. The pH trigger levels are: 6.75 (lower limit) and 7.62 (upper limit)

## Sheet1 (hidden)
Removed outliers
| 0.01 |  |  | Complete dataset
| 0.01 |  |  | 0.01
| 0.01 |  |  | 0.01
| 0.01 |  |  | 0.01
| 0.1 |  |  | 0.01
| 0.09 |  |  | 0.01
| 0.06 |  |  | 0.01
| 0.09 |  |  | 0.01 |  | Data
|  | 0.31 |  | 0.01 |  | 0.01
| 0.01 |  |  | 0.01 |  | 0.01
| 0.01 |  |  | 0.01 |  | 0.01
| 0.1 |  |  | 0.03 |  | 0.01
| 0.11 |  |  | 0.04 |  | 0.01
|  | 0.7 |  | 0.04 |  | 0.01
| 0.01 |  |  | 0.05 |  | 0.01
|  | 1.23 |  | 0.06 |  | 0.01
|  | 0.23 |  | 0.06 |  | 0.01
| 0.06 |  |  | 0.07 |  | 0.01
|  | 1.08 |  | 0.07 |  | 0.03
| 0.05 |  |  | 0.08 |  | 0.04
|  | 0.43 |  | 0.09 |  | 0.04
|  | 0.68 |  | 0.09 |  | 0.05
| 0.07 |  |  | 0.09 |  | 0.06
|  | 0.5 |  | 0.1 |  | 0.06
| 0.04 |  |  | 0.1 |  | 0.07
| 0.01 |  |  | 0.1 |  | 0.07
| 0.07 |  |  | 0.11 |  | 0.08
|  | 0.37 |  | 0.23 |  | 0.09
|  | 0.61 |  | 0.31 |  | 0.09
| 0.1 |  |  | 0.37 |  | 0.09
| 0.09 |  |  | 0.43 |  | 0.1
| 0.01 |  |  | 0.5 |  | 0.1
| 0.01 |  |  | 0.61 |  | 0.1
| 0.08 |  |  | 0.68 |  | 0.11
| 0.03 |  |  | 0.7
| 0.04 |  |  | 1.08
Mean | 0.049231 |  |  | 1.23
Stdev | 0.036366
Mean +2stdev | 0.072732 | Mean +2SD | No outliers
Result 1 | 0.12196 | 0.82 | 2 |  | 0.73469
|  | 0.55 | 3
|  | 0.36 | 3
|  | 0.2 | 2
| Total no outliers |  | 10
| Trigger level |  | 0.12196
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## 2023 Graphs (M-235-S) (hidden)
Ammonia (2023) Limit Trigger | Conductivity (2023) Limit Tigger | Month
0.11 | 420 | Jan |  | M/235/S
0.7 | 390 | Feb
0.02 | 310 | Mar
1.23 | 610 | Apr
0.23 | 500 | May | Ortho-P, BOD & Suspended Solids requested but not required in Licence so data not available (Ref. C.2.3)
0.13 | 390 | Jun
1.08 | 380 | Jul
0.19 | 190 | Aug
0.43 | 180 | Sep
0.68 | 200 | Oct
0.13 | 400 | Nov
0.5 | 390 | Dec

## 2023 Graphs (M-000-S) (hidden)
Ammonia (2023) Limit Trigger | Conductivity (2023) Limit Tigger | Month
0.04 | 610 | Jan |  | M/000/S (also SWDP1)
0.02 | 380 | Feb
0.13 | 510 | Mar
0.37 | 600 | Apr
0.61 | 700 | May | Ortho-P, BOD & Suspended Solids requested but not required in Licence so data not available (Ref. C.2.2)
0.15 | 440 | Jun
0.09 | 410 | Jul
0.02 | 180 | Aug
0.02 | 210 | Sep
0.08 | 200 | Oct
0.03 | 400 | Nov
0.04 | 600 | Dec