## 2023 Graphs (SW1) (hidden)
BOD (2023) Limit 40 mg/l | SS (2023) Limit 50 mg/l | Total Ammonia (2023) Limit 10 mg/l | Ortho-P (2023) Limit 2 mg/l | Month
22.1 | 6 | 0.02 | 0.02 | Jan |  | SW1
24.4 | 5 | 0.02 | 0.02 | Feb
26.2 | 8 | 0.02 | 0.02 | Mar
27.6 | 12 | 0.02 | 0.04 | Apr
17 | 10 | 0.19 | 0.04 | May
20.5 | 4 | 0.15 | 0.11 | Jun | Conductivity requested but not required in Licence so data not available (Ref. C.2.2)
14.5 | 6 | 0.14 | 0.07 | Jul
17.4 | 10 | 0.19 | 0.02 | Aug
16.5 | 6 | 0.31 | 0.02 | Sep
21.9 | 7 | 0.02 | 0.02 | Oct
26.5 | 22 | 0.02 | 0.03 | Nov
18.5 | 15 | 0.13 | 0.08 | Dec
16.2 | 22
28.2 | 18
29.9 | 20
38.2 | 36
31.3 | 35
36 | 22
32.8 | 22
22.6 | 18
26.3 | 15
31.2 | 36
25.1 | 12
10 | 18
32 | 21
35 | 39
11.6 | 26
18.2 | 18
32.9 | 32
28.2 | 22
25.4 | 12
18.3 | 18
20.1 | 12
15.3 | 5
20.1 | 31
22 | 32
21 | 22
23.4 | 18
16.8 | 15
38.1 | 21
38.9 | 20
29.4 | 30
22.8 | 27
25.8 | 28
26.7 | 25
24.3 | 16
30.6 | 16
28.9 | 12
30.4 | 10
28.8 | 15
33 | 12
27.1 | 5

## Explanatary notes
Tab A: grab sample dateset - example of the outlier assessment for a dataset with no outliers.
Tab B: grab sample dateset - example of the outlier removal process and computing trigger levels.

## Tab A
Frequency of collection | Sampling period | COD mg/L | suspended solids
Weekly | 2022 | 6
Weekly | 2022 | 7
Weekly | 2022 | 9
Weekly | 2022 | 5
Weekly | 2022 | 9
Weekly | 2022 | 9
Weekly | 2022 | 6
Weekly | 2022 | 8
Weekly | 2022 | 7
Weekly | 2022 | 5
Weekly | 2022 | 5
Weekly | 2022 | 9
Weekly | 2022 | 6
Weekly | 2022 | 9
Weekly | 2022 | 8
Weekly | 2022 | 6
Weekly | 2022 | 5
Weekly | 2022 | 10
Weekly | 2022 | 9
Weekly | 2022 | 7
| Median | 7
| Standard deviation (Stdev) | 1.6819
| 2 x Stdev | 3.3639
| Median + (2 x Stdev) | 10.3639
No datapoints are greater than [median + (2 x SD)], i.e., 10.36 mg/L. This dataset is outlier free.

## Tab B
| Raw dataset/ itermation 1 |  |  | Outlier removal - iteration 2 |  |  |  | Outlier removal - iteration 3 |  |  |  | Outlier removal - iteration 4 |  |  |  | Outlier removal - iteration 5
| Week number | TOC mg/L - raw data |  | Week number | TOC mg/L | TOC datapoints removed in iteration 1 |  | Week number | TOC mg/L | TOC datapoints removed |  | Week number | TOC mg/L | TOC datapoints removed |  | Week number | TOC mg/L | TOC datapoints removed
| 1 | 14.2 |  | 1 | 14.2 |  |  | 1 | 14.2 |  |  | 1 | 14.2 |  |  | 1 | 14.2
| 2 | 10.9 |  | 2 | 10.9 |  |  | 2 | 10.9 |  |  | 2 | 10.9 |  |  | 2 | 10.9
| 3 | 15 |  | 3 | 15 |  |  | 3 | 15 |  |  | 3 | 15 |  |  | 3 | 15
| 4 | 19.7 |  | 4 | 19.7 |  |  | 4 | 19.7 |  |  | 4 | 19.7 |  |  | 4 |  | 19.7
| 5 | 50 |  | 5 |  | 50 |  | 5 |  | 50 |  | 5 |  | 50 |  | 5 |  | 50
| 6 | 11.2 |  | 6 | 11.2 |  |  | 6 | 11.2 |  |  | 6 | 11.2 |  |  | 6 | 11.2
| 7 | 8.6 |  | 7 | 8.6 |  |  | 7 | 8.6 |  |  | 7 | 8.6 |  |  | 7 | 8.6
| 8 | 13 |  | 8 | 13 |  |  | 8 | 13 |  |  | 8 | 13 |  |  | 8 | 13
| 9 | 10.7 |  | 9 | 10.7 |  |  | 9 | 10.7 |  |  | 9 | 10.7 |  |  | 9 | 10.7
| 10 | 6.1 |  | 10 | 6.1 |  |  | 10 | 6.1 |  |  | 10 | 6.1 |  |  | 10 | 6.1
| 11 | 13.4 |  | 11 | 13.4 |  |  | 11 | 13.4 |  |  | 11 | 13.4 |  |  | 11 | 13.4
| 12 | 12 |  | 12 | 12 |  |  | 12 | 12 |  |  | 12 | 12 |  |  | 12 | 12
| 13 | 10.2 |  | 13 | 10.2 |  |  | 13 | 10.2 |  |  | 13 | 10.2 |  |  | 13 | 10.2
| 14 | 9 |  | 14 | 9 |  |  | 14 | 9 |  |  | 14 | 9 |  |  | 14 | 9
| 15 | 10 |  | 15 | 10 |  |  | 15 | 10 |  |  | 15 | 10 |  |  | 15 | 10
| 16 | 6.3 |  | 16 | 6.3 |  |  | 16 | 6.3 |  |  | 16 | 6.3 |  |  | 16 | 6.3
| 17 | 12 |  | 17 | 12 |  |  | 17 | 12 |  |  | 17 | 12 |  |  | 17 | 12
| 18 | 9.2 |  | 18 | 9.2 |  |  | 18 | 9.2 |  |  | 18 | 9.2 |  |  | 18 | 9.2
| 19 | 9.6 |  | 19 | 9.6 |  |  | 19 | 9.6 |  |  | 19 | 9.6 |  |  | 19 | 9.6
| 20 | 40 |  | 20 |  | 40 |  | 20 |  | 40 |  | 20 |  | 40 |  | 20 |  | 40
| 21 | 7.8 |  | 21 | 7.8 |  |  | 21 | 7.8 |  |  | 21 | 7.8 |  |  | 21 | 7.8
| 22 | 21.4 |  | 22 | 21.4 |  |  | 22 | 21.4 |  |  | 22 |  | 21.4 |  | 22 |  | 21.4
| 23 | 7.9 |  | 23 | 7.9 |  |  | 23 | 7.9 |  |  | 23 | 7.9 |  |  | 23 | 7.9
| 24 | 12 |  | 24 | 12 |  |  | 24 | 12 |  |  | 24 | 12 |  |  | 24 | 12
| 28 | 8.8 |  | 28 | 8.8 |  |  | 28 | 8.8 |  |  | 28 | 8.8 |  |  | 28 | 8.8
| 30 | 10 |  | 30 | 10 |  |  | 30 | 10 |  |  | 30 | 10 |  |  | 30 | 10
| 31 | 15 |  | 31 | 15 |  |  | 31 | 15 |  |  | 31 | 15 |  |  | 31 | 15
| 32 | 15 |  | 32 | 15 |  |  | 32 | 15 |  |  | 32 | 15 |  |  | 32 | 15
| 33 | 10.2 |  | 33 | 10.2 |  |  | 33 | 10.2 |  |  | 33 | 10.2 |  |  | 33 | 10.2
| 34 | 9.7 |  | 34 | 9.7 |  |  | 34 | 9.7 |  |  | 34 | 9.7 |  |  | 34 | 9.7
| 35 | 20.7 |  | 35 | 20.7 |  |  | 35 | 20.7 |  |  | 35 | 20.7 |  |  | 35 |  | 20.7
| 36 | 11.3 |  | 36 | 11.3 |  |  | 36 | 11.3 |  |  | 36 | 11.3 |  |  | 36 | 11.3
| 37 | 12.4 |  | 37 | 12.4 |  |  | 37 | 12.4 |  |  | 37 | 12.4 |  |  | 37 | 12.4
| 38 | 12.5 |  | 38 | 12.5 |  |  | 38 | 12.5 |  |  | 38 | 12.5 |  |  | 38 | 12.5
| 39 | 15.4 |  | 39 | 15.4 |  |  | 39 | 15.4 |  |  | 39 | 15.4 |  |  | 39 | 15.4
| 40 | 13.1 |  | 40 | 13.1 |  |  | 40 | 13.1 |  |  | 40 | 13.1 |  |  | 40 | 13.1
| 41 | 17.3 |  | 41 | 17.3 |  |  | 41 | 17.3 |  |  | 41 | 17.3 |  |  | 41 | 17.3
| 42 | 25.9 |  | 42 | 25.9 |  |  | 42 | 25.9 |  |  | 42 |  | 25.9 |  | 42 |  | 25.9
| 43 | 9 |  | 43 | 9 |  |  | 43 | 9 |  |  | 43 | 9 |  |  | 43 | 9
| 44 | 11.7 |  | 44 | 11.7 |  |  | 44 | 11.7 |  |  | 44 | 11.7 |  |  | 44 | 11.7
| 45 | 11.7 |  | 45 | 11.7 |  |  | 45 | 11.7 |  |  | 45 | 11.7 |  |  | 45 | 11.7
| 46 | 8.3 |  | 46 | 8.3 |  |  | 46 | 8.3 |  |  | 46 | 8.3 |  |  | 46 | 8.3
| 47 | 28 |  | 47 | 28 |  |  | 47 |  | 28 |  | 47 |  | 28 |  | 47 |  | 28
| 48 | 87.2 |  | 48 |  | 87.2 |  | 48 |  | 87.2 |  | 48 |  | 87.2 |  | 48 |  | 87.2
| 49 | 21.1 |  | 49 | 21.1 |  |  | 49 | 21.1 |  |  | 49 |  | 21.1 |  | 49 |  | 21.1
| 50 | 12.3 |  | 50 | 12.3 |  |  | 50 | 12.3 |  |  | 50 | 12.3 |  |  | 50 | 12.3
| 51 | 21.4 |  | 51 | 21.4 |  |  | 51 | 21.4 |  |  | 51 |  | 21.4 |  | 51 |  | 21.4
| 52 | 16.4 |  | 52 | 16.4 |  |  | 52 | 16.4 |  |  | 52 | 16.4 |  |  | 52 | 16.4
Raw Data/ Iteration # 1 | Median | 12 | Iteration # 2 | Median | 12 |  | Iteration # 3 | Median | 11.85 |  | Iteration # 4 | Median | 11.5 |  | Iteration # 5 | Median | 11.25
| Standard deviation (Stdev) | 13.2682 |  | Standard deviation (Stdev) | 4.9592 |  |  | Standard deviation (Stdev) | 4.4556 |  |  | Standard deviation (Stdev) | 3.2841 |  |  | Standard deviation (Stdev) | 2.6985
| Stdev (as % of the median) | 110.6% |  | Stdev (as % of the median) | 41.33% |  |  | Stdev (as % of the median) | 37.6% |  |  | Stdev (as % of the median) | 28.56% |  |  | Stdev (as % of the median) | 23.99%
| Median + (2 x Stdev) | 38.5363 |  | Median + (2 x Stdev) | 21.9184 |  |  | Median + (2 x Stdev) | 20.7612 |  |  | Median + (2 x Stdev) | 18.0681 |  |  | Median + (2 x Stdev) | 16.6471
|  |  |  | Trigger level: Median + (3 x Stdev) | 26.8777 | [10 empty] | Trigger level: Median + (3 x Stdev) | 19.3456
All TOC values > 38.5 mg/L shall be removed from the dataset. These values are highlighted red in column C. |  |  |  | TOC values >38.5 mg/L have been removed from the dataset. After removal of these values, the TOC data is similar to the specific benchmark for this site and the standard deviation is low. Trigger levels may be computed from this data set. Additional iterations of outlier removal have been included for demonstration purposes. |  |  |  | TOC values >26.9 mg/L have been removed from the dataset. |  |  |  | TOC values >20.8 mg/L have been removed from the dataset. |  |  |  | TOC values >18.1 mg/L have been removed from the dataset. The outlier removal process may be considered sufficient when the median is similar the EQS/other suitable benchmark and the standard deviation is low. This example has been provided for demonstration purposes.

## Sheet1 (hidden)
Removed outliers
| 0.01 |  |  | Complete dataset
| 0.01 |  |  | 0.01
| 0.01 |  |  | 0.01
| 0.01 |  |  | 0.01
| 0.1 |  |  | 0.01
| 0.09 |  |  | 0.01
| 0.06 |  |  | 0.01
| 0.09 |  |  | 0.01 |  | Data
|  | 0.31 |  | 0.01 |  | 0.01
| 0.01 |  |  | 0.01 |  | 0.01
| 0.01 |  |  | 0.01 |  | 0.01
| 0.1 |  |  | 0.03 |  | 0.01
| 0.11 |  |  | 0.04 |  | 0.01
|  | 0.7 |  | 0.04 |  | 0.01
| 0.01 |  |  | 0.05 |  | 0.01
|  | 1.23 |  | 0.06 |  | 0.01
|  | 0.23 |  | 0.06 |  | 0.01
| 0.06 |  |  | 0.07 |  | 0.01
|  | 1.08 |  | 0.07 |  | 0.03
| 0.05 |  |  | 0.08 |  | 0.04
|  | 0.43 |  | 0.09 |  | 0.04
|  | 0.68 |  | 0.09 |  | 0.05
| 0.07 |  |  | 0.09 |  | 0.06
|  | 0.5 |  | 0.1 |  | 0.06
| 0.04 |  |  | 0.1 |  | 0.07
| 0.01 |  |  | 0.1 |  | 0.07
| 0.07 |  |  | 0.11 |  | 0.08
|  | 0.37 |  | 0.23 |  | 0.09
|  | 0.61 |  | 0.31 |  | 0.09
| 0.1 |  |  | 0.37 |  | 0.09
| 0.09 |  |  | 0.43 |  | 0.1
| 0.01 |  |  | 0.5 |  | 0.1
| 0.01 |  |  | 0.61 |  | 0.1
| 0.08 |  |  | 0.68 |  | 0.11
| 0.03 |  |  | 0.7
| 0.04 |  |  | 1.08
Mean | 0.049231 |  |  | 1.23
Stdev | 0.036366
Mean +2stdev | 0.072732 | Mean +2SD | No outliers
Result 1 | 0.12196 | 0.82 | 2 |  | 0.73469
|  | 0.55 | 3
|  | 0.36 | 3
|  | 0.2 | 2
| Total no outliers |  | 10
| Trigger level |  | 0.12196
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## 2023 Graphs (M-235-S) (hidden)
Ammonia (2023) Limit Trigger | Conductivity (2023) Limit Tigger | Month
0.11 | 420 | Jan |  | M/235/S
0.7 | 390 | Feb
0.02 | 310 | Mar
1.23 | 610 | Apr
0.23 | 500 | May | Ortho-P, BOD & Suspended Solids requested but not required in Licence so data not available (Ref. C.2.3)
0.13 | 390 | Jun
1.08 | 380 | Jul
0.19 | 190 | Aug
0.43 | 180 | Sep
0.68 | 200 | Oct
0.13 | 400 | Nov
0.5 | 390 | Dec

## 2023 Graphs (M-000-S) (hidden)
Ammonia (2023) Limit Trigger | Conductivity (2023) Limit Tigger | Month
0.04 | 610 | Jan |  | M/000/S (also SWDP1)
0.02 | 380 | Feb
0.13 | 510 | Mar
0.37 | 600 | Apr
0.61 | 700 | May | Ortho-P, BOD & Suspended Solids requested but not required in Licence so data not available (Ref. C.2.2)
0.15 | 440 | Jun
0.09 | 410 | Jul
0.02 | 180 | Aug
0.02 | 210 | Sep
0.08 | 200 | Oct
0.03 | 400 | Nov
0.04 | 600 | Dec