Declaration of Compliance Summary Document

Approved Dosimetry Service

Declaration for Re-approval of Dosimetry Services in Ireland

All documents required in Section 2 of the Approval of Dosimetry Services in Ireland – Guidelines for Applicants, must be submitted for approval e.g. intercomparison reports, ISO17025 Certificate.

Where documentation is submitted by email each document’s file name must be recorded in the tables below

2.1 Scope of Approval

| Application | Type of Dosemeter | Technology | Operational Quantity | Radiation Type | Energy Range | Dose Range | Limitations | File Ref. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

2.2 Evidence of Accreditation or approval in another country

The service shall provide a copy of their certificate and scope of accreditation to ISO 17025 issued by the national body recognised by the European co-operation for Accreditation (EA) as the competent authority to grant such accreditation.

| Accreditation | Confirmation | Comment | File Ref. |
| --- | --- | --- | --- |
| Accreditation ISO17025 or Equivalent |  |  |  |
| Certificate of conformity IEC:62387:2012 |  |  |  |
| Other approval – Please specify |  |  |  |

2.3 Performance Data

The dosimetry service shall provide evidence of participation in recognised laboratory intercomparisons.

| Intercomparison and Performance Data requirements | Confirmation | File Ref. |
| --- | --- | --- |
| Evidence of regular satisfactory participation in national, European or international intercomparisons |  |  |
| Results of irradiation tests with a satisfactory response of the dosimetry system within the rated ranges of all input quantities as set out in the scope of approval; |  |  |
| Results of intercomparison and irradiation tests must demonstrate compliance with accuracy of measurement of personal dose equivalents criteria set out in the technical criteria; |  |  |

| Intercomparison / Performance Test | Date | Type of Test | Dosemeters Tested | Comment | File Ref. |
| --- | --- | --- | --- | --- | --- |

2.4 Sample Report

The service shall provide samples of customer reports and guidance made available to customers.

| Sample Reports | File Ref. |
| --- | --- |
| Whole Body monthly dose reports Extremity dose report. Annual dose report for a department Personal Dose report for an individual |  |

2.5 Statement of Conformance

| Requirement | Confirmation of Conformance | Comment |
| --- | --- | --- |
| (i) The dosimetry service complies with EPA’s approval criteria, see Table 3 of Approval of Dosimetry Services in Ireland – Guidelines for Applicants (A-0) |  |  |
| (ii) The service complies with relevant EU guidance (RP160) and recommendations |  |  |
| (iii) The reporting time in normal and accident situations shall comply with the response times set out in the technical criteria |  |  |
| (iv) The service will provide data annually to the National Dose Register (NDR) in a manner specified by EPA |  |  |