This is a draft document and is subject to revision.

Waste Water Discharge Licence

# Application Form

Environmental Protection Agency

PO Box 3000, Johnstown Castle Estate, Co.  Wexford

Lo Call: 1890 335599 Telephone: 053-9160600   Fax: 053-9160699

Web: www.epa.ie	Email: info@epa.ie

# Tracking Amendments to Draft Application Form

| Version No. | Date | Amendment since previous version | Reason |
| --- | --- | --- | --- |
| V. 2.0 | 05/10/2017 | N/A |  |

# Environmental Protection Agency

# Application for a Waste Water Discharge Licence under the

Waste Water Discharge (Authorisation) Regulations 2007 as amended.

# CONTENTS

Page

Tracking Amendments to Draft Application Form	2

ABOUT THIS APPLICATION FORM	4

PROCEDURES	5

SECTION A:	NON-TECHNICAL SUMMARY	7

SECTION B:	GENERAL	8

SECTION C:	DISCHARGES & MONITORING	15

SECTION D:	EXISTING ENVIRONMENT & IMPACT OF THE DISCHARGE(S)	16

SECTION E:	DECLARATION	19

ANNEX 1:  Tables/Attachments

Annex 2:  Licence Application Checklist

Annex 3:  Compliance with Waste Water Discharge (Authorisation) Regulations 2007 as amended

# ABOUT THIS APPLICATION FORM

This form is for the purpose of making an application for a Waste Water Discharge Licence under the Waste Water Discharge (Authorisation) Regulations 2007 as amended, or for the review of an existing Waste Water Discharge licence.

The Application Form must be completed in accordance with the instructions and guidance provided in the Waste Water Discharge Licensing Application Guidance Note. The Guidance Note gives an overview of Waste Water Licensing, outlines the licence application process (including the number of copies required) and specifies the information to be submitted as part of the application. The Guidance Note and application form are available to download from the Licensing page of the EPA’s website at http://www.epa.ie/pubs/forms/lic/wwda/.

A valid application for a Waste Water Discharge Licence must contain the information prescribed in the Waste Water Discharge (Authorisation) Regulations 2007 as amended. Regulation 16 of the Regulations sets out the statutory requirements for information to accompany a licence application.  This application form is designed in such a way as to set out these questions in a structured manner and not necessarily in the order presented in the Regulations.  In order to ensure a legally valid application in respect of Regulation 16 requirements, please complete the Regulation 16 Checklist provided in Annex 2.

This Application Form does not purport to be, and should not be considered, a legal interpretation of the provisions and requirements of the Waste Water Discharge (Authorisation) Regulations 2007 as amended. While every effort has been made to ensure the accuracy of the material contained in this Application Form, the EPA assumes no responsibility and gives no guarantee or warranty concerning the accuracy, completeness or up-to-date nature of the information provided herein and does not accept any liability whatsoever arising from any errors or omissions.

Should there be any contradiction between the information requirements set out in the Application Form and any clarifying explanation contained in the accompanying Guidance Note, then the requirements in this Application Form shall take precedence.

# PROCEDURES

The procedure for making and processing of applications for waste water discharge licences, and for the processing of reviews of such licences, appear in the Waste Water Discharge (Authorisation) Regulations 2007 as amended, and is summarised below.  The application fees that shall accompany an application are listed in the Third Schedule to the Regulations.

Prior to submitting an application the applicant must publish (within the two weeks prior to date of application) in a newspaper circulating in the area, and erect at the point nearest to the waste water treatment plant concerned or, if no such plant exists, at a location nearest the primary discharge point, a notice of intention to apply.

An application for a licence must be submitted using this application form with the correct fee, and should contain relevant supporting documentation as attachments.   The application should be based on responses to the form and include supporting written text and the appropriate use of tables and drawings.  Where point source emissions occur, a system of unique reference numbers should be used to denote each discharge point.  These should be simple, logical, and traceable throughout the application.

The application form is divided into a number of sections of related information.  The purpose of these divisions is to facilitate both the applicant and the Agency in the provision of the information and its assessment.  Please adhere to the format as set out in the application form and clearly number each section and associated attachment, if applicable, accordingly.  Attachments should be clearly numbered, titled and paginated and must contain the required information as set out in the application form.  Additional attachments may be included to supply any further information supporting the application.  Any references made should be supported by a bibliography.

All questions should be answered.  Where information is requested in the application form, which is not relevant to the particular application, the words “not applicable” should be clearly written on the form. The abbreviation “N/A” should not be used.

Additional information may need to be submitted beyond that which is explicitly requested on this form.  Any references made should be supported by a bibliography.  The Agency may request further information if it considers that its provision is material to the assessment of the application.  Advice should be sought from the Agency where there is doubt about the type of information required or the level of detail.

Information supplied in this application, including supporting documentation will be put on public display and be open to inspection by any person.

Applicants should be aware that a contravention of the conditions of a waste water discharge licence is an offence under the Waste Water Discharge (Authorisation) Regulations 2007 as amended.

The provision of information in an application for a waste water discharge licence which is false or misleading is an offence under Regulation 35 of the Waste Water Discharge (Authorisation) Regulations 2007 as amended.

Note:  Drawings. The following guidelines are included to assist applicants:

- All drawings submitted should be titled and dated.

- All drawings should have a unique reference number and should be signed by a clearly identifiable person.

- All drawings should indicate a scale and the direction of north.

- All drawings should, generally, be to a scale of between 1:20 to 1:500, depending upon the degree of detail needed to be shown and the size of the facility. Drawings delineating the boundary can be to a smaller scale of between 1:1000 to 1:10560, but must clearly and accurately present the required level of detail. Drawings showing the waste water treatment plant location, if such a plant exists, can be to a scale of between 1:50 000 to 1:126 720.  All drawings should, however, be A3 or less and of an appropriate scale such that they are clearly legible. Provide legends on all drawings and maps as appropriate.

- In exceptional circumstances, where A3 is considered inadequate, a larger size may be requested by the Agency.

It should be noted that it will not be possible to process or determine the application until the required documents have been provided in sufficient detail and to a satisfactory standard.

# SECTION A:	NON-TECHNICAL SUMMARY

Advice on completing this section is provided in the accompanying Guidance Note.

A non-technical summary of the application is to be included here. The summary should identify all environmental impacts of significance associated with the discharge of waste water associated with the waste water works.

The following information must be included in the non-technical summary:

A description of:

- The waste water works and the activities carried out therein,

- the sources of emissions from the waste water works,

- the nature and quantities of foreseeable emissions from the waste water works into the receiving aqueous environment as well as identification of significant effects of the emissions on the environment,

- the proposed technology and other techniques for preventing or, where this is not possible, reducing emissions from the waste water works,

- further measures planned to comply with the general principle of the basic    obligations of the operator, i.e., that no significant pollution is caused,

- measures planned to monitor emissions into the environment,

- type of discharge, i.e., continuous, tidal, intermittent,

- the hours during which the waste water works is supervised or manned and days per week of this supervision,

- in the event that this is a review application, state the grounds for which this review application is being made.

Supporting information should form Attachment No A.1

# SECTION B:	GENERAL

Advice on completing this section is provided in the accompanying Guidance Note.

B.1 Application Type

| Is this a review application? | Yes | No |
| --- | --- | --- |

## If yes, provide the following information:

| EPA Licence Register Number |  |
| --- | --- |

## tate the grounds for this review application: mittant.State the grounds for which this review application is being made: ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

## B.2	Agglomeration Details

| Name of Agglomeration |  |
| --- | --- |

Provide a drawing detailing the agglomeration to which the licence application relates.  It should have the boundary of the agglomeration to which the licence application relates clearly marked in a continuous red line. Please note that the agglomeration boundary shall include all areas serviced by the sewer network and shall include the wastewater treatment plant.  All areas of the agglomeration shall be within the agglomeration boundary. The boundary line on the map should not be impinged on by labels or any other graphic insertions.

Attachment B.1 should contain appropriately scaled hardcopy drawings / maps (≤A3) of the agglomeration served by the waste water works showing the boundary clearly marked in red ink.  This drawing / map should also be provided as geo-referenced digital drawing files (e.g., ESRI Shapefile, MapInfo Tab, AutoCAD or other upon agreement) in Irish National Grid Projection.  This geo-referenced digital drawing should be provided to the Agency at the following address: gis@edenireland.ie.

## Applicant’s Details

# Name and Address for Correspondence

Only application documentation submitted by the applicant and by the nominated person will be deemed to have come from the applicant.

| Name*: |  |
| --- | --- |
| Address: |  |
| CRO Number: |  |
| Tel: |  |
| e-mail: |  |

*This should be the name of the water services authority in whose ownership or control the waste water works is vested.

| Name*: |  |
| --- | --- |
| Address: |  |
| Tel: |  |
| e-mail: |  |

*This should be the name of person nominated by the water services authority for the purposes of the application.

## B.3	Location of Associated Waste Water Treatment Plant(s)

Give the location of the waste water treatment plant associated with the waste water works, if such a plant or plants exists.

| Name*: |  |
| --- | --- |
| Address: |  |
| Grid ref (6E, 6N) |  |
| Level of Treatment |  |
| Telephone Number: |  |
| e-mail: |  |

*This should be the name of the person responsible for the supervision of the waste water treatment plant.

Attachment B.2 should contain appropriately scaled hardcopy drawings / maps (≤A3) of the site boundary and overall site plan, including labelled discharge, monitoring and sampling points.

## B.4	Description of Associated Waste Water Treatment Plant(s)

Provide a description of the waste water treatment plant(s), type of process units, level of treatment provided and design capacity (p.e. and flow rates) for the areas of the waste water works where discharges occur.

## B.5 (i)	Population Equivalent of Agglomeration

The population equivalent (p.e.) of the agglomeration to be, or being, served by the waste water works should be provided and the period in which the population equivalent data was compiled should be indicated.

| Actual Population Equivalent |  |
| --- | --- |
| Design Population Equivalent |  |
| Data Compiled (Year) |  |
| Method of Compilation, e.g., direct measure |  |

B.5 (ii)	Pending Development

Where planning permission has been granted for development(s), but development has not been commenced or completed to date, within the boundary of the agglomeration and this development is being, or is to be, served by the waste water works provide the following information;

- information on the calculated population equivalent (p.e.) to be contributed to the waste water works as a result of those planning permissions granted,

- the percentage of the projected p.e. to be contributed by the non-domestic activities,  and

- the ability of the waste water works to accommodate this extra hydraulic and organic loading without posing an environmental risk to the receiving water habitat.

B.5 (iii)	Fees

State the relevant class of waste water discharge as per Column 1 of the Second Schedule, and the appropriate fee as per Columns 2 or 3 of the Third Schedule of the Waste Water Discharges (Authorisation) Regulations 2007 as amended.

| Class of waste water discharge | Fee (in €) |
| --- | --- |
| Discharges from agglomerations with a population equivalent of: ___________ |  |

## B.6	Primary Discharge Point

Provide information on the primary discharge point, as defined in the Waste Water Discharge (Authorisation) Regulations as amended, associated with the waste water works.

| Type of Discharge | E.g. Diffuser, Lunar Valve, Non-return flap valve etc. |
| --- | --- |
| Unique Point Code |  |
| Location |  |
| Grid ref (6E, 6N) |  |
| Source of Emission |  |
| Monitoring Point Location (6E, 6N) |  |
| Monitoring Frequency |  |
| Composite Sampler Provided |  |
| Receiving Water Name |  |
| Receiving Water Type |  |
| Receiving Water WFD Code |  |

Attachment B.3 should contain appropriately scaled hardcopy drawings / maps (≤A3) of the primary discharge point, including labelled monitoring and sampling points associated with the discharge point.

## B.7	Secondary Discharge Point(s)

Provide information on all secondary discharge point(s) associated with the waste water works.  Please refer to Guidance Note for information on Secondary discharge points.

| Type of Discharge | E.g. Diffuser, Lunar Valve, Non-return flap valve etc. |
| --- | --- |
| Unique Point Code |  |
| Location |  |
| Grid ref (6E, 6N) |  |
| Source of Emission |  |
| Monitoring Point Location (6E, 6N) |  |
| Monitoring Frequency |  |
| Composite Sampler Provided |  |
| Receiving Water Name |  |
| Receiving Water Type |  |
| Receiving Water WFD Code |  |

Attachment B.4 should contain appropriately scaled hardcopy drawings / maps (≤A3) of the secondary discharge point(s), including labelled monitoring and sampling points associated with the discharge point(s).

## B.8	Storm Water Overflow Point(s)

Provide information on all storm water overflow point(s) associated with the waste water works.

| Unique Point Code |  |
| --- | --- |
| Storm Water Device Location (6E, 6N) |  |
| Discharge Location (6E, 6N) |  |
| Does this Storm Water Overflow comply with the criteria as set out in the DoEHLG ‘Procedures and Criteria in Relation to Storm Water Overflows’, 1995 |  |
| Is this Storm Water Overflow to be decommissioned? |  |
| Decommissioning Date |  |

Attachment B.5 should contain appropriately scaled hardcopy drawings / maps (≤A3) of storm water overflow point(s) associated with the waste water works, including labelled monitoring and sampling points associated with the discharge point(s).

## B.9 Emergency Overflow Point(s)

Provide information on all emergency overflow point(s) associated with the waste water works.

| Unique Point Code |  |
| --- | --- |
| Emergency Overflow Device Location (6E, 6N) |  |
| Discharge Location (6E, 6N) |  |

Attachment B.6 should contain appropriately scaled hardcopy drawings / maps (≤A3) of emergency overflow point(s) associated with the waste water works, including labelled monitoring and sampling points associated with the discharge point(s).

## B.10 Leachate

| Leachate Accepted at the plant | Yes | No |
| --- | --- | --- |
| Quantity of Leachate accepted (m3/annum) |  |

## B.11 Industrial, Commercial and Trade Inputs

Applicants should provide details of any significant industrial inputs into the waste water treatment works.

| Industrial Inputs | Type | Quantity (m3/annum) |
| --- | --- | --- |

## B.12 Abstractions

Applicants should submit the following information for each abstraction point (including drinking water) which potentially impacts on, or is potentially impacted by the waste water treatment works. The zone of contribution for the abstraction point should be delineated and any potential risks from the waste water discharge to the water quality at that abstraction point identified.

| Abstraction Code | Abstraction Volume (m3/day) | Distance upstream/downstream | Easting (6E-digit GPS Irish National Grid Reference) | Northing (6E-digit GPS Irish National Grid Reference) |
| --- | --- | --- | --- | --- |

Note:	Attach any risk assessment that may have been carried out in relation to the abstraction point(s) listed.

Attachment B.7 should contain any supporting information.

## B.13 Planning Authority and/or Public Authority

Give the name of the planning authority, or authorities, in whose functional area the discharge or discharges take place or are proposed to take place.

| Name: |  |
| --- | --- |
| Address: |  |
| Tel: |  |
| e-mail: |  |

Planning Permission relating to the waste water works which is the subject of this application:- (tick as appropriate)

| has been obtained |  | is being processed |  |
| --- | --- | --- | --- |
| is not yet applied for |  | is not required |  |

| Local Authority Planning File Reference No: |  |
| --- | --- |

Attachment B.8a should contain the most recent planning permission, including a copy of all conditions, a copy of the planning inspector’s report and where an EIAR was required, copies of any such EIAR and any certification associated with the EIAR, should also be enclosed.  Where planning permission is not required for the development, provide reasons, relevant correspondence, etc.

## B.14	 Notices and Advertisements

Regulations 10 and 11 of the Waste Water Discharge (Authorisation) Regulations 2007 as amended, require all applicants to advertise the application in a newspaper (within two weeks prior to date of application) and by way of a site notice.  See Guidance Note.

Attachment B.9 should contain a copy of the site notice and an appropriately scaled drawing (≤A3) showing its location.  The original application must include the original page of the newspaper in which the advertisement was placed.  The relevant page of the newspaper containing the advertisement should be included with the original and one (1) copy of the application.

## B.15	Capital Investment Programme

State whether a programme of works has been prioritised for the development of infrastructure to appropriately collect, convey, treat and discharge waste water from the relevant agglomeration.  If a programme of works has been prioritised provide details on funding allocated to the capital project. Provide details on the extent and type of work to be undertaken and the likely timeframes for this work to be completed.

Attachment B.10 should contain the most recent development programme, including a copy of any approved funding for the project and a timeframe for the completion of the necessary works to take place.

## B.16	Significant Correspondence

Provide a summary of any correspondence resulting from a Section 63 notice or a compliance correspondence issued by the Agency in relation to the waste water works under the Environmental Protection Agency Act 1992 as amended, or the Waste Water Discharge (Authorisation) Regulations 2007 as amended.

Attachment B.11 should contain a summary of any relevant correspondence issued in relation to a Section 63 notice/ compliance correspondence.

## B.17	Foreshore Act Licences.

Provide a copy of the most recent Foreshore Act licence issued in relation to discharges from the waste water works issued under the Foreshore Act 1933 as amended.

Attachment B.12 should contain the most recent licence issued under the Forsehore Act 1933 as amended, including a copy of all conditions attached to the licence and any monitoring returns for the previous 12-month period, if applicable.

# SECTION C:	DISCHARGES & MONITORING

Advice on completing this section is provided in the accompanying Guidance Note.

- Give particulars of the source, location, nature, composition, quantity, level and rate of discharges arising from the agglomeration and, where relevant, the period or periods during which such emissions are made or are to be made.

- Undertake and provide details of a risk based assessment of the discharge in order to identify the relevant priority substances for monitoring. This assessment shall be undertaken in accordance with "Guidance on the Screening for Priority Substances for Waste Water Discharge Licences" issued by the Agency. Provide details of the sources of any priority substances detected during the risk based assessment of discharges, that would be likely to give rise to exceedances of the relevant standards set in the European Communities Environmental Objectives (Surface Waters) Regulations 2009 as amended. Provide information on measures that are necessary to reduce or eliminate priority substances in the discharge(s).

- Details of all discharges of waste water from the agglomeration should be supplied. Tables C.1(a) & (b), should be completed for the primary discharge point from the agglomeration and Tables C.2(a) & (b) should be completed for each secondary discharge point, where relevant.  Individual Tables must be completed for each discharge point.

- Describe the existing or proposed measures, including emergency procedures, to prevent unintended waste water discharges and to minimise the impact on the environment of such discharges.

- Regulation 16(1)(h) of the Waste Water Discharge (Authorisation) Regulations 2007 as amended, requires all applicants to provide the sampling data pertaining to the discharge based on the samples taken in the 12 months preceding the making of the application.

- Attach associated monitoring data for the receiving water for the 12 months preceding the making of the application. This data should be provided for the primary discharge point and each of the secondary discharge points, if applicable.

- Regulation 16(1)(l) of the regulations requires applicants to give details of compliance with any applicable monitoring requirements and treatment standards.

- For waste water treatment plants with coastal discharges, provide evidence that the end of the discharge pipe is below the mean spring tide low water line.

Attachment C.1 should contain all supporting information.

# SECTION D:	EXISTING ENVIRONMENT & IMPACT OF THE DISCHARGE(S)

Advice on completing this section is provided in the accompanying Guidance Note.

Detailed information is required to enable the Agency to assess the existing receiving environment. This section requires the provision of information on the ambient environmental conditions within the receiving water(s) upstream and downstream of any discharge(s).

Where applicable, information on the state of the existing environment should be addressed in the EIAR. In such cases, it will suffice for the purposes of this section to provide adequate cross-references to the relevant sections in the EIAR. If there is no EIAR associated with the development, information on the existing environment should be provided here.

## D.1. Assessment of Impact on Receiving Surface or Ground Water

- Give summary details and an assessment of the impacts of any existing or proposed emissions on the environment, including environmental media other than those into which the emissions are to be made.

- Provide summary details and an assessment of the impacts of any existing or proposed emissions on the surface water or ground (aquifers, soils, sub-soils and rock environment), including any impact on environmental media other than those into which the emissions are to be made.

- Where a discharge is being made to a small stream, provide evidence that there is a background flow in the stream all year round.

- Provide details and evaluate any direct or indirect discharges to groundwater that may be associated with the waste water treatment plant in accordance with the EPA Guidance document ‘Guidance on the Authorisation of Direct Discharges to Groundwater’ (2014) and the Agency published ‘Guidance on the Authorisation of Discharges to Groundwater’ (2011).

- Describe the existing environment in terms of water quality with particular reference to environmental quality standards or other legislative standards. Give details of any designation under any Council Directive or Regulations that apply in relation to the receiving water.

- Provide information demonstrating that emissions from the agglomeration or any premises, plant, methods, processes, operating procedures or other factors which affect such emissions will comply with, or will not result in the contravention of the;

  - Water Framework Directive 2000/60/EC,

  - Birds Directive 79/409/EEC,

  - Groundwater Directives 80/68/EEC & 2006/118/EC,

  - Drinking Water Directives 80/778/EEC,

  - Urban Waste Water Treatment Directive 91/271/EEC,

  - Habitats Directive 92/43/EEC,

  - Environmental Liabilities Directive 2004/35/EC,

  - Bathing Water Directive 76/160/EEC,

  - Marine Strategy Framework Directive 2008/56/EC, and

  - European Communities Environmental Objectives (Surface Waters) Regulations 2009 as amended.

- Describe, where appropriate, measures for minimising pollution over long distances or in the territory of other states.

- This section should also contain full details of any modelling of discharges from the agglomeration.  Full details of the assessment and any other relevant information on the receiving environment should be submitted as Attachment D.1.

## D.2. Appropriate Assessment

- Where applicable, provide a copy of any screening for Appropriate Assessment report and Natura Impact Statement (NIS) that was prepared for consideration by any planning/public authority as defined in Regulation 2(1) of the European Communities (Birds and Natural Habitats) Regulations 2011 as amended, in relation to the waste water works.  Where a determination that an Appropriate Assessment is required has been made by any planning/public authority in relation to the waste water works, a copy of that determination and any screening report and Natura Impact Statement (NIS), and any supplementary information furnished in relation to any such report or statement, which has been provided to the planning/public authority for the purposes of the Appropriate Assessment shall be included.

- Undertake a screening for Appropriate Assessment and submit a copy of the screening report in Attachment D.2.

- Complete Table D.1 providing details of all European Sites considered as part of the screening for appropriate assessment.

- Based on the information provided above, indicate whether the discharge(s), individually or in combination with other plans or projects, is likely to have a significant effect on a European Site(s), in view of best scientific knowledge and the conservation objectives of the site(s).  Provide reasons for this determination.

- Where it cannot be excluded, on the basis of objective scientific information, following screening for Appropriate Assessment, that the discharge(s), either individually or in combination with other plans or projects, will have a significant effect on a European Site, provide a Natura Impact Statement (in Attachment D.2), as defined in Regulation 2(1) of the European Communities (Birds and Natural Habitats) Regulations 2011 as amended.

Attachment D.2 should contain an Appropriate Assessment screening report and where applicable a Natura Impact Statement.

## D.3. Programme of improvements

- Provide details on a programme of improvements to ensure that discharges from the agglomeration will not result in significant environmental pollution and details to ensure that all emissions from the agglomeration will comply with, or will not result in the contravention of any national or European legislation.

Attachment D.3 should contain the most recent programme of improvements, including a copy of any approved funding for the project and a timeframe for the completion of the necessary works to take place.

# SECTION E:	DECLARATION

# Declaration

I hereby make an application for a waste water discharge licence/revised licence, pursuant to the provisions of the Waste Water Discharge (Authorisation) Regulations 2007 as amended.

I certify that the information given in this application is truthful, accurate and complete.

I give consent to the EPA to copy this application for its own use and to make it available for inspection and copying by the public, both in the form of paper files available for inspection at EPA and Irish Water offices, and via the EPA's website.

This consent relates to this application itself and to any further information or submission, whether provided by me as the Applicant or any person acting on the Applicant’s behalf.

Signed by :                                  		                       Date  :

(on behalf of the organisation)

Print name: 								____________

Position in organisation:

ANNEX 1: TABLES/ATTACHMENTS

Table C.1(a): Emissions to Surface/Ground Water – Primary Discharge Point

| Discharge Point Code |  |
| --- | --- |
| Normal Volume Emitted/day (m3/day) |  |
| Maximum Volume Emitted/day (m3/day) |  |
| Period of Emission (avg) |  |

Table C.1(b): Emissions to Surface/Ground Water – Characteristics of the Emission - Primary Discharge Point

| Substance | As Discharged |
| --- | --- |
|  | Unit of Measurement | Sampling Method | Max Daily Average* |
| pH | pH |  |  |
| Temperature | °C |  |  |
| Suspended Solids | mg/l |  |  |
| Total Ammonia (as N) | mg/l |  |  |
| Carbonaceous Biochemical Oxygen Demand | mg/l |  |  |
| Chemical Oxygen Demand - Cr | mg/l |  |  |
| Total Nitrogen (as N) | mg/l |  |  |
| Total Phosphorus (as P) | mg/l |  |  |
| Orthophosphate (as P) - Unspecified | mg/l |  |  |

* Max daily average refers to the maximum concentration of the relevant substance recorded from composite sample results during the monitoring period.

Table C.2(a): Emissions to Surface/Ground Water – Secondary Discharge Point

(1 table per discharge point)

| Discharge Point Code |  |
| --- | --- |
| Normal Volume Emitted/day (m3/day) |  |
| Maximum Volume Emitted/day (m3/day) |  |
| Period of Emission (avg) |  |

Table C.2(b): Emissions to Surface/Ground Water – Characteristics of the Emission - Secondary Discharge Point

(1 table per discharge point)

| Substance | As Discharged |
| --- | --- |
|  | Unit of Measurement | Sampling Method | Max Daily Average* |
| pH | pH |  |  |
| Temperature | ◦C |  |  |
| Suspended Solids | mg/l |  |  |
| Total Ammonia (as N) | mg/l |  |  |
| Carbonaceous Biochemical Oxygen Demand | mg/l |  |  |
| Chemical Oxygen Demand - Cr | mg/l |  |  |
| Total Nitrogen (as N) | mg/l |  |  |
| Total Phosphorus (as P) | mg/l |  |  |
| Orthophosphate (as P) - Unspecified | mg/l |  |  |

* Max daily average refers to the maximum concentration of the relevant substance recorded from composite sample results during the monitoring period.

Table D.1: List of European Sites assessed, their associated qualifying interests and conservation objectives.

|  | European Site Name & Site Code | Distance/ Direction of European Site from discharge(s) (e.g. X km east downstream of the discharge(s) on the X River.) | Qualifying interests List all habitats and species listed in the Conservation Objectives document on the NPWS website. Denote priority habitats with an *. For species list the English Name & Latin Name. | Conservation objectives Cite the most recent Conservation Objectives document on the NPWS website for the European Site. |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

ANNEX 2: Licence Application Checklist

| Section | Attachment Number | Document | Attached by Applicant √ |
| --- | --- | --- | --- |
| Non-Technical Summary | A.1 | Non-technical summary |  |
| General | B.1 | Agglomeration boundary map |  |
|  | B.2 | Site boundary and overall site plan |  |
|  | B.3 | Primary discharge point location map |  |
|  | B.4 | Secondary discharge point location map(s) |  |
|  | B.5 | Storm Water Overflow location map(s) |  |
|  | B.6 | Emergency Overflow location map(s) |  |
|  | B.7 | Supporting information on Abstractions |  |
|  | B.8 | Most recent planning permission, including all conditions, the planning inspectors report and an EIAR where required. |  |
|  | B.9 | A copy of the site notice and newspaper notice |  |
|  | B.10 | Most recent Capital Investment Programme, including a copy of any approved funding |  |
|  | B.11 | Section 63 Notices/ compliance correspondence |  |
|  | B.12 | Most recent licence issued under the Foreshore Act 1933 as amended |  |
| Discharges & Monitoring | C.1 | Supporting information on Discharges and Monitoring |  |
| Existing Environment & Impact of the Discharge(s) | D.1 | All supporting information on the assessment of the impact on the receiving waters |  |
|  | D.2 | Appropriate Assessment screening report and where applicable a Natura Impact Statement |  |
|  | D.3 | Most recent Programme of Improvements |  |

ANNEX 3: Compliance with Waste Water Discharge (Authorisation) Regulations 2007 as amended

- Regulation 16 of the Waste Water Discharge (Authorisation) Regulations 2007 as amended sets out the information which must, in all cases, accompany a discharge licence application.  Applicants should ensure that the application fully complies with the legal requirements of Regulation 16 of the 2007 Regulations as amended.

- Regulation 16(3) states that an application for a licence shall be accompanied by such fee as is appropriate having regard to the provisions of Regulations 38 and 39.

| Has the appropriate fee been paid? | Yes/No | Amount |
| --- | --- | --- |
|  |  | € |

- Regulation 16(4) states that an original application shall be accompanied by 2 copies of it and of all accompanying documents and particulars as required under Regulation 16(3) in hardcopy or in an electronic or other format as specified by the Agency.

The application shall include a signed original, 1 hardcopy of the application and 2 CD versions of the application (PDF files).

| Has this documentation been provided? | Yes | No |
| --- | --- | --- |

- Regulation 17 states that where a treatment plant associated with the relevant waste water works is or has been subject to the European Communities (Environmental Impact Assessment) Regulations 1989 to 2001, in addition to compliance with the requirements of Regulation 16, an application in respect of the relevant discharge shall be accompanied by a copy of an environmental impact statement and approval in accordance with the Act of 2000 in respect of the said development and may be submitted in an electronic or other format specified by the Agency.

Where applicable, the application shall be accompanied by 2 hardcopies of the EIAR and 2 CD versions of the EIAR (PDF files).

| Has this documentation been provided where applicable? | Yes | No |
| --- | --- | --- |

# Text boxes

EPA Ref. No:

(Office use only)