| EPA CHECKLIST FOR LABORATORY METHODS |  |
| --- | --- |

| #### Name of Contractor/Laboratory: |  |  |  |
| --- | --- | --- | --- |
| Name of Auditor: |  |  |  |
| Laboratory Representative(s) (Include position): |  |  |  |
| Date of Audit: |  |  |  |
| # Test Method: (Documentation in relation to each question should be reviewed and comments inserted) |  |  |  |
| Method Name: Name of Reference Standard Does lab method adequately adhere to reference standard? Is a copy of the reference standard available for review? Is a copy of the procedure available for analysts? Is procedure adhered to? Are training records available for analyst? Have training assessment criteria & method been set and attained? Are the samples appropriately stored and preserved? Are samples analysed within appropriate timeframe? Is a blank sample being analysed? AQC: Is an AQC utilised? Is the AQC put through the entire analytical procedure? Is an AQC run with each batch of analysis? If AQC in place is a corresponding quality control graph in place? Are failures in AQC being appropriately investigated and acted on? Is there an external AQC in place for the method? Have results of external AQC been acceptable? | Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ |  |  |
| # Additional Comments |  |  |  |

| # Equipment: (Ovens, pipettes, heating blocks, spectrophotometers, ICP, MS, ISE etc) |  |
| --- | --- |
| Is the analysis equipment used part of a maintenance & calibration programme? Are the analysis equipment maintained & calibrated in accordance with manufacturers recommendations? If yes, are the calibration certificates available for review? Are calibration status stickers present on the equipment? Has traceability of the calibration been established to relevant SI units of measurement, where practicable? | Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ |
| # Additional Comments |  |

| # Validation: (Documentation in relation to each question should be reviewed and comments inserted) |  |
| --- | --- |
| Has the method been subject to a written validation procedure? Have the following been determined - Limit of quantitation? - Accuracy? - Precision? - Uncertainty? - Range & linearity - System Suitability Has the suitability for the test matrix been determined? Are results available for review? Are results available for intercalibration results for this analysis? | Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ Yes ⁪ No ⁪ |
| Additional Comments |  |