## Table A3
Table A.4: Non-compliance by reason according to water supply, nationally
| Total Inspections | Total # of Advisory Notices | Leakage from the system | Unlicensed discharge to SW | Surface Ponding | Roof water or SW entering the system | Operation and Maintenance | Desludging | Risk to human health or the environment
Septic tanks pre 1964 | 49 | 30 | 12 | 13 | 10 | 7 | 17 | 16 | 20
Septic Tank 1964 - 1979 | 174 | 82 | 23 | 40 | 17 | 26 | 43 | 37 | 56
Septic Tank 1980 - 2000 | 407 | 188 | 55 | 64 | 54 | 50 | 100 | 95 | 107
Septic tanks post 2000 | 257 | 101 | 29 | 33 | 19 | 24 | 56 | 46 | 50
Secondary 1964 - 1979 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1
Secondary 1980 - 2000 | 26 | 14 | 1 | 1 | 1 | 3 | 10 | 5 | 5
Secondary post 2000 | 164 | 60 | 17 | 17 | 13 | 9 | 41 | 40 | 29
Tertiary 1980 - 2000 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Tertiary post 2000 | 8 | 2 | 0 | 0 | 0 | 1 | 1 | 1 | 0
Unknown | 10 | 10 | 0 | 1 | 1 | 0 | 1 | 2 | 8
Total | 1097 | 489 | 138 | 170 | 115 | 120 | 271 | 242 | 277