## Table A4
Table A.5: Status of Advisory Notices issued from the 1st January to the 31st December 2015, by county (as of the 10th August 2016)
| Total inspections | Total # of Advisory Notice | Leakage from the system | Unlicensed discharge to SW | Surface Ponding | Roof water or SW entering the system | Operation and Maintenance | Desludging | Risk to human health or the environment Section 70C(1)(b)
Group Water Scheme | 141 | 51 | 20 | 23 | 27 | 10 | 32 | 20 | 41
Mains | 588 | 281 | 80 | 111 | 51 | 76 | 154 | 137 | 168
Private Well | 364 | 156 | 37 | 36 | 36 | 33 | 84 | 85 | 67
Spring | 4 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1
Total | 1097 | 489 | 138 | 170 | 115 | 120 | 271 | 242 | 277